|  |  |
| --- | --- |
| **Date:**  | **Revised Date:**  |
| **Campus/Facility:**  | **Client:**  |
| **(Address):**  |
| **Building Name(s):**  | **Building Numbers:**  |
| **Project Title:** |
| **Architect/Engineer:**  |
| **Project No.:**  | **Estimated Project Cost:** |
| **Code Enforcement Jurisdiction: [ ]  DASNY** | **[ ]  Other:**  | **Variance Requested: [ ]  Yes [ ]  No** |
| **Classification:** | **[ ]  Single Family Dwelling** | **[ ]  Two Family Dwelling** | **[ ]  Townhouse** |
| **(if applicable) Life Safety Code Chapter (s):       Life Safety Code Construction Classification:** |
| **Project Type:****Check all that apply. Refer to Appendix J for definitions.** | **[ ]  New Building****[ ]  Repair****[ ]  Alteration Level 1** | **[ ]  Alteration Level 2****[ ]  Change of Occupancy****[ ]  Addition**  | **[ ]  Historic Building****[ ]  Relocated Building****[ ]  Demolition** |
| **Work Involved:** | **[ ]  General Construction** | **[ ]  Structural** | **[ ]  Site Work** |
| **Check all that apply.** | **[ ]  Roofing** | **[ ]  Mechanical** | **[ ]  Sprinkler** |
|  | **[ ]  Asbestos Abatement/Environmental** | **[ ]  Plumbing** | **[ ]  Elevators** |
|  | **[ ]  Fire Alarm** | **[ ]  Electrical** | **[ ]  Other** |

|  |
| --- |
| **LEGEND: NA** - ***Not Applicable*, NR - *Not Required*, NP - *Not Permitted*** |

| **No** | **Topic** | **Residential Code Section** | **Required / Allowed** | **Actual** | **Comment** |
| --- | --- | --- | --- | --- | --- |
| 1 | Building Height | R101.2 |       |       | More than 3 stories must comply with Building Code.      |
| 2 | Design Criteria | R301 |  |  | Provide information in Attachment 1. Use link below.      |
| 3 | Exterior Wall Location | R302 |       |       |       |
| 4 | Light: Natural/Artificial | R303 |       |       |       |
| 5 | Ventilation | R303 |       |       |       |
|  | Minimum Room Areas | R304 |       |       |       |
| 6 | Ceiling Heights | R305 |       |       |       |
| 7 | Sanitation | R306 |       |       |       |
| 8 | Toilet, Bath & Shower Spaces | R307 |       |       |       |
| 9 | Glazing | R308 |       |       |       |
| 10 | Garages | R309 |       |       |       |
|  | Opening Protection | R309.1 |       |       |       |
|  | Separation Required | R309.2 |       |       |       |
| 11 | Emergency Escape and Rescue Openings | R310 |       |       |       |
|  | Minimum Opening Area | R310.1.1 |       |       |       |
| 12 | Exits | R311 |       |       |       |
|  | Landings | R311.4.3/R311.5.4 |       |       |       |
|  | Stairways | R311.5 |       |       |       |
|  | Handrails | R311.5.6 |       |       |       |
|  | Ramps | R311.6 |       |       |       |
|  | Guards | R312 |       |       |       |
| 13 | Fire Alarm | R313.1 |  |       | Indicate Type of Fire Alarm System:[ ]  Hardwired (zoned) [ ]  Addressable      |
|  | Smoke Detection  | R313.1 |       |       |       |
|  | Power Source | R313.1.2 |       |       |       |
|  | Combination Smoke/CO Alarms | R313.3 |       |       |       |
| 14 | Carbon Monoxide Alarms | R313.4 |       |       | Indicate Type: [ ]  Hardwired [ ]  Plug-in [ ]  Battery  [ ]  Interconnected [ ]  System      |
| 15 | Sprinkler System | R313.5 |       |       | Indicate Type of Sprinkler System: [ ]  NFPA 13 [ ]  NFPA 13R [ ]  NFPA 13D      |
| 16 | Foam Plastic | R314 |       |       |       |
|  | Thermal Barrier | R314.4 |       |       |       |
| 17 | Flame Spread and Smoke Density | R315 |       |       |       |
| 18 | Insulation | R316 |       |       |       |
| 19 | Dwelling Unit Separation | R317 |       |       |       |
| 20 | Moisture Vapor Retarders | R318 |       |       |       |
| 21 | Protection Against Decay | R319 |       |       |       |
| 22 | Termite Protection  | R320 |       |       |       |
| 23 | Accessibility | R322  |       |       |       |
| 24 | Elevator | R323 |       |       |       |
| 25 | Flood Resistant Construction | R324 |       |       |       |
| 26 | Foundations | R401.1 |  |  | Provide information in Attachment 1. Use link below.      |
|  | Soil Tests | R401.4 |  |  | Provide information in Attachment 1. Use link below.      |
|  | Materials | R402 |       |       |       |
|  | Footings | R403 |       |       |       |
|  | Foundation & Retaining Walls | R404 |       |       |       |
| 27 | Floors | R501.1 |  |  |       |
|  | Wood Floor Framing | R502 |       |       |       |
|  | Truss Type, Pre-Engineered Wood or Timber Construction | Part 1265 |       |       | Provide information in Attachment 1. Use link below.      |
|  | Floor Sheathing | R503 (Table 503.1) |       |       |       |
|  | Steel Floor Framing | R505 |       |       |       |
|  | Concrete Floors | R506 |       |       |       |
| 28 | Wall Construction | R601.1 |  |  |       |
|  | Wood Wall Framing | R602 |       |       |       |
|  | Steel Wall Framing | R603 |       |       |       |
|  | Wood Structural Panels | R604 |       |       |       |
|  | Masonry Construction | R606 |       |       |       |
|  | Insulating Concrete Form Wall Construction | R611 |       |       |       |
| 29 | Wall Covering | R701.1 |  |  |       |
|  | Interior Covering | R702 |       |       |       |
|  | Exterior Covering | R703 |       |       |       |
| 30 | Roof-Ceiling Construction | R801.1 |  |  |       |
|  | Wood Roof Framing | R802 |       |       |       |
|  | Truss Type, Pre-Engineered Wood or Timber Construction | Part 1265 |       |       | Provide information in Attachment 1. Use link below.      |
|  | Roof Sheathing | R803 |       |       |       |
|  | Steel Roof Framing | R804 |       |       |       |
|  | Roof Ventilation | R806 |       |       |       |
|  | Attic Access | R807 |       |       |       |
| 31 | Roof Assemblies | R901.1 |  |  |       |
|  | Roof Classification | R902 |       |       |       |
|  | Roof Covering | R905 |       |       |       |
| 32 | Chimney and Fireplaces | R1001.1 |  |  |       |
|  | Masonry Fireplaces | R1001 |       |       |       |
|  | Masonry Heater | R1002 |       |       |       |
|  | Masonry Chimneys | R1003 |       |       |       |
|  | Factory-Built Fireplaces | R1004 |       |       |       |
|  | Factory-Built Chimneys | R1005 |       |       |       |
|  | Exterior Air Supply | R1006 |       |       |       |
| 33 | Energy Efficiency | N1101  |  |  | Provide information in Attachment 2. Use link below.      |
| 34 | Mechanical | Chapters 12 - 23 |  |  |       |
|  | Type of Fuel for Heating | M1304 |  |  | Fuel type:       |
|  | Clearance from Combustibles | M1306 |       |       | Identify inches of clearance (in spaces to the left).       |
|  | Refrigeration Cooling Equipment | M1411 |  |  | Type of refrigerant:       |
|  | Clothes Dryer Exhaust | M1502 |       |       |       |
|  | Range Hood Exhaust | M1503 |       |       |       |
|  | Mechanical Exhaust Rates for Kitchens | M1507 (Table M1507.3) |       |       |       |
|  | Mechanical Exhaust Rates for Bathrooms | M1507 (Table M1507.3) |       |       |       |
|  | Gauge of Metal Ducts  | M1601 (Table M1601.1.1(2)) |       |       |       |
|  | Combustion Air | M1702 & M1703 |       |       |       |
|  | Chimney or Gas Vent Size | M1801 |       |       | Provide size in inches.       |
|  | Special Fuel-burning Equip | M1901-1904 |       |       |       |
|  | Boilers | M2001 |       |       |       |
|  | Hydronic Piping Materials | M2101 (Table M2101.1) |       |       |       |
|  | Oil Tanks (Size & Location)  | M2201 |       |       |       |
|  | Solar Systems | M2301 |       |       |       |
| 35 | Fuel Gas | G2401.1 |  |  |       |
|  | Prohibited Locations | G2406.2 |       |       |       |
|  | Combustion, Vent & Dilution Air | G2407 |       |       |       |
|  | Installation | G2408 |       |       |       |
|  | Clearance Reduction | G2409 |       |       |       |
|  | Electric Bonding | G2411 |       |       | Identify if CSST is to be used.      |
|  | Gas Pipe System | G2412 |       |       |       |
|  | Category of Equipment (I, II, III, IV) and Venting | G2427 (Table G2427.4) |       |       |       |
| 36 | Plumbing | P2601.1 |  |  |       |
|  | Fixtures | R 306 & P2701.1 |  |  | Provide information in Attachment 1. Use link below.      |
|  | Water Heaters | P2801.1 |       |       |       |
|  | Water Supply | P2902/2903/2904 |       |       |       |
|  | Sanitary Drainage | P3001.1 |       |       |       |
|  | Plumbing Vents | P3101.1 |       |       |       |
| 37 | Electrical  | E3301.1 |  |  |       |
|  | Equip Location/Clearances | E3305 |       |       |       |
|  | Ground-Fault & Arc Fault Circuit Protection | E3802 |       |       |       |
|  | Emergency Power | N/A |  |       |       |
|  | Exit Lights | N/A |  |       |       |
|  | Emergency Lighting | N/A |  |       |       |

|  |  |
| --- | --- |
| [ ]  Additional information provided.  Open Attachment 1 and enter information:  | [ ]  Energy Conservation information provided.  Open Attachment 2 and enter information: |

|  |  |
| --- | --- |
|  |  |
|  |  |

|  |  |
| --- | --- |
|  |  |
| [ ]  LSC Health Care Facility, Chapters 18/19 for OPWDD & OMH Facilities. Open Attachment 3 and enter information: | [ ]  LSC Board & Care Chapters 32/33 for OPWDD facilities. Open Attachment 4 and enter information: |

|  |  |
| --- | --- |
|  |  |