# SECTION	02 83 00

# REMOVAL AND DISPOSAL OF LEAD-CONTAINING PAINT

PART 1   GENERAL

DESCRIPTION OF WORK

The work covered by this specification shall consist of furnishing all labor, materials, tools, and equipment necessary for the removal and disposal of lead-based paint (LBP) and / or lead-containing paint (LCP) pertaining to the project at xxx (Name of facility, building ID(s), address, DASNY project name and number).

          - The work shall include but not be limited to the removal of the following materials:

| Floor/level and Work Area Number | Description of LBP Material | Substrate Material | Approximate Quantity (SF/LF/Unit) | Removal Method(s) |
| --- | --- | --- | --- | --- |
|  |  | Total Quantity (SF/LF/Units) |  |  |

SPECIAL JOB CONDITIONS

Any special job conditions are described below.

- (Describe in detail or indicate “None”)

DEFINITIONS

Action Level:  Employee exposure, without regard to use of respirators, to an airborne concentration of lead of 30 micrograms per cubic meter (μg/m3) of air averaged over an eight-hour period in an occupational/industrial environment.

Area Sampling:  Sampling of airborne lead concentrations within the lead control area and inside the physical boundaries, which is representative of the lead concentrations but is not collected in the breathing zone of personnel (not OSHA personal sampling). This sampling will be conducted by DASNY’s Third-Party Environmental Consultant, if required.

Authorized Visitor: Any party who has to enter the lead control area for emergency purposes or regulatory compliance inspections.  Examples include the building/structure owner, his or her agent or representative, utility company representatives, and personnel of any regulatory agency having jurisdiction over the project.  Visitors shall comply with all applicable requirements of OSHA 29 CFR 1926.

Certified Contractors/Firms and Renovators:  Certified Contractors/Firms under 40 CFR 745.226 and 745.89(d) and Certified Renovators under 40 CFR 745.90(b) are required to inspect, assess or remove LBP, dust or soil.  Certification as required to provide notification to the United States Environmental Protection Agency (EPA) prior to the commencement of LBP abatement activities in residential dwellings and child-occupied facilities.

Conditionally Exempt/Very Small Quantity Generator (CESQ/VSQG): A waste handler who generates no more than 100 kilograms per month of listed and/or characteristic hazardous waste, generates no more than 1 kilogram of acute hazardous waste in any calendar month, and stores no more than 1,000 kilograms of listed and/or characteristic hazardous waste or more than 1 kilogram of acutely hazardous waste.

Contaminated Clothing Storage Room:  Room for removal of contaminated personal protective equipment (PPE).

Decontamination Shower Facility:  That facility that encompasses a clean clothing storage room, and a contaminated clothing storage and disposal rooms, with a shower facility in between.

Eight-Hour Time Weighted Average (TWA):  Airborne concentration of lead to which an employee is exposed, averaged over an eight-hour workday as indicated in 29 CFR 1926.62.

Hazardous waste: any materials to be disposed that possess at least one of four characteristics (ignitability, corrosivity, reactivity or toxicity) as defined and regulated by the Resource Conservation and Recovery Act (RCRA) and applicable state and federal regulations, or a material specifically identified as hazardous waste by applicable Federal or State lists, in 40 CFR 261 or 6 NYCRR 371, respectively.

            - Exception – Hazardous waste metal scrap, lead shielding, and metal with lead-based paint that has been segregated for recycling.  Blank c7 NYS DEC notification form included in appendices.

High Efficiency Particulate Air (HEPA) Filter Equipment:  HEPA filtered vacuuming equipment with a UL 586 filter system capable of collecting and retaining lead-containing paint (LCP) dust.  A high efficiency particulate air filter is 99.97 percent efficient against 0.3 micron or larger size particles.

Large Quantity Generator (LQG): a waste handler who generates more than 1,000 kilograms per month of listed and/or characteristic hazardous waste, generates more than 1 kilogram of acute hazardous waste per month, or stores more than 6,000 kilograms of hazardous waste or 1 kilogram of acutely hazardous waste.

Lead:  Metallic lead, inorganic lead compounds, and organic lead soaps.

Lead Abatement:  Work designed to eliminate LBP hazards.  Abatement does not include renovations, remodeling, additions, alterations, repair or other activities done on a building, even if such activities incidentally eliminate LBP hazards.

Lead-Based Paint (LBP):  Paint or other surface coating that contains lead equal to or greater than (>) 1.0 milligram per centimeter squared (1.0 mg/cm2) or > 0.5 percent by weight.

Lead-Based Paint Hazard (LBP Hazard):  Any condition that causes exposure to lead from lead-contaminated dust, lead-contaminated soil, LBP that is deteriorated or present in accessible surfaces, friction surfaces, or impact surfaces that would result in adverse human health effects.

Lead-Containing Paint (LCP):  LBP or other similar surface coating containing lead or lead compound in any detectable weight of the total nonvolatile content of the paint.

Lead Control Area:  An enclosed area or structure, constructed as a temporary containment equipped with HEPA filtered local exhaust, which prevents the spread of lead dust, paint chips, or debris existing as a condition of LBP removal operations.  The lead control area is also isolated by physical boundaries to prevent unauthorized entry of personnel.

Lead Permissible Exposure Limit (PEL):  50 μg/m3 of air as an eight-hour TWA as determined by 29 CFR 1926.62.  If an employee is exposed for more than eight hours in a workday, the PEL shall be determined by the following formula: PEL (micrograms/cubic meter of air) = 400/number of hours worked per day.

Personal Sampling:  Sampling of airborne lead concentrations within the breathing zone of an employee to determine the eight-hour TWA concentration in accordance with 29 CFR 1926.62.  Samples shall be representative of the employees' work tasks.  The sampling, conducted by the Contractor, shall provide information to complete the required exposure assessment to identify the level of exposure a worker would be subject to without respiratory protection.  Whenever there has been a change of equipment, process, control, personnel or a new task has been initiated, the Contractor shall conduct additional personal sampling.

Physical Boundary:  Area physically roped or partitioned off around an enclosed lead control area to limit unauthorized entry of personnel.  As used in this section, "inside boundary" shall mean the same as "outside lead control area but inside boundary."

Project Supervisor (PS): As used in this section, refers to a person employed by the Contractor who is trained and certified in the recognition and control of lead hazards in accordance with current federal, State, and local regulations.  The PS shall be trained and certified to inspect, assess or remove LBP, dust or soil and be qualified to design and interpret lead paint removal plans.

Small Quantity Generator (SQG): a waste handler who generates no more than 1,000 kilograms per month of listed and/or characteristic hazardous waste, generates no more than 1 kilogram of acute hazardous waste per month, and stores no more than 6,000 kilograms of listed and/or characteristic hazardous waste or more than 1 kilogram of acutely hazardous waste.

Third-Party Environmental Consultant:  DASNY will provide a Third-Party Environmental Consultant to provide pre-work assessments, project monitoring assessments for the work area and surrounding areas, final clearance assessments, waste shipment sampling/inspection, post removal/control area breakdown assessment and waste stream sampling.

Worker certifications:  All workers inspecting, assessing, or removing LBP, dust or soil who are trained and certified to conduct these activities.  As per 40 CFR Part 745 and 29 CFR 1926.

SUBMITTALS

Pre-Work Submittals: Within 7 days prior to the pre-construction conference, the Contractor shall submit electronic copies of the documents listed below, with 1 copy going directly to the DASNY Project Management, 1 Copy to the DASNY Code Compliance Unit and 1 copy going directly to the Environmental Consultant for review, comment and approval prior to the commencement of lead removal activities:

            - Training and Certifications

EPA Lead Paint Certifications of Contractor and Project Supervisor and Workers.

Certificate of on-site supervisor for completion of the OSHA 40-hour Health and Safety course [29 CFR 1910.120/1926.65] for handling hazardous waste and spills, including most recent refresher training.

OSHA 8-hour supervisor training [29 CFR 1910.120(e)(4)/1926.65(e)(4)] for hazardous waste. This is in addition to the 40 Hour HAZWOPER training.

List of the employees scheduled to perform this work and certificates of workers, for successful completion of the OSHA 40-Hour Health and Safety Course for Hazardous Waste and spills, including most recent refresher training

Valid United States Department of Transportation (DOT) training [49 CFR172.704] for supervisor and all employees loading waste and maintaining on-site waste storage area. This training shall include: general awareness / familiarization training; function specific training; safety training; security awareness training; and in-depth security training.

Annual hazardous waste RCRA training as per 40 CFR 260.10, 262.17(a)(7), 264.16 & 265.16.  Submit sign-in sheets for all employees and supervisors working on the project.  This training may be either 2 hours, 4 hours or 8 hours, as applicable.

- Transportation and Disposal

              - Valid Hazardous Waste Transporter NYS Part 364 permit for all transporters.

Valid Hazardous Waste Transport vehicle permits for each state the waste is being transported through to reach the Treatment, Storage and Disposal Facility (TSDF), as applicable.

Valid US DOT vehicle registration permit for all Transporters.

Transfer Facility Permit (if used) including the name, address and EPA ID No. of the facility, contact person, and acknowledgement letter stating that the facility has the capacity and is permitted to accept the waste from the project site. The letter shall also identify how the waste will be treated, if applicable.

Final Disposal Facility permit including the name, address and EPA ID No. of the facility, contact person, and acknowledgement letter stating that the facility has the capacity and is permitted to accept the waste from the project site

The TSDF permit(s) must identify the waste material(s) to be received.

Draft Land Disposal Restriction (LDR) form.

Draft Waste Profile.

Draft c7 NYSDEC Notification form for any metals to be recycled, if applicable (See Appendix B).

- Site-specific

              - Safety Data Sheet (SDS) for all materials (i.e. lead) to be removed.

If the Contractor introduces any chemical into the work environment, a SDS for each chemical must be presented to the Owner's Representative prior to use.

Progress Schedule

- Show the complete sequencing of removal activities and the sequencing of Work within each building, wing or section of building.

- Show the dates for the beginning and completion of each major element of Work including substantial completion dates for each Work Area, building or phase.

Lead-Based Paint/Lead-Containing Paint Removal Plan (LBP/LCPRP) including PS approval (signature, date, and certification number). The Contractor shall complete and utilize an exposure assessment compliant with OSHA for all LCP & LBP disturbances.

- Include a sketch showing the location, size, and details of lead control areas, as well as location and details of the decontamination facilities. All Work Areas/containments shall be numbered sequentially.

- Location of water and electrical connections to building services.

- Waste transport routes through the building to the waste storage container and/or container storage area (CSA).

- Type of removal activity/technique for each Work Area/containment.

- The job specific plan for protecting the work area, ventilation and drainage systems.

- Collected wastewater disposal/treatment plan, as applicable.

- Paint debris disposal plan (hazardous and non-hazardous waste).

- Include in the plan, eating, drinking, and sanitary procedures outside of the work areas, interface of trades and sequencing of lead related work.

- Include plan for hazardous waste segregation and minimization.

- Containment design

- The containment design proposed for use during surface preparation and cleanup activities as required to perform the work.  The Plan for staging, installing, moving and removing the containment.  Include number and location of negative air units and exhausts, all data, calculations for determining number of negative air pressure ventilation units, and assumptions used for the design of the containment and ventilation system to ensure that airborne lead concentrations of 30 μg/m3 of air and baseline lead dust/soil concentrations are not reached or exceeded outside of the lead control area.

- Methods to be used to verify adequate air flow characteristics and negative pressure within containment.

- The plan for establishing barriers to control access of personnel within the exposure zones.

- Facility Contingency Plan revision information for material handling and emergency procedures.

- CSA location details.

- Contractor waste generation details (amount per day, per week or per quarter) in kgs or tons, as applicable.

- Waste types being generated.

- Waste storage details (drums, containers, or dumpsters, types, along with cover type).

- CSA containment details and hazardous waste management plan in compliance with 02 86 00.  How and where is the waste being stored? (indoors or outdoors, is it being contained to prevent impact to adjoining spaces or environment?).

- Contractor emergency evacuation plan requirements and evacuation route for the project specific areas.

- Duration of waste generation and contract.

- Contractor, DASNY and Project team emergency contact numbers.

- Final Clearance Evaluation – Provide written procedures identifying the methods that will be used to conduct final project cleanup and the final cleanliness inspections and evaluations that will be undertaken in compliance with the project requirements.

- Do not start work until submittals are returned with the Owner’s Representative stamp indicating that the submittal is approved for unrestricted use

On-Site & During Construction Submittals:

- The following submittals, documentation, and postings shall be maintained on-site by the Contractor during removal activities at a location approved by the Environmental Consultant:

              - Copy of “approved” pre-work submittal package, including removal plan and Health and Safety Plan/Contingency Plan.

              - Updated licenses/permits and acknowledgement letters for any changes in transporter or disposal site.

              - Testing laboratory qualifications. Laboratory name, address, and Environmental Laboratory Accreditation Program (ELAP) certification number of laboratory to perform analysis of required OSHA personal air samples. Refer to Section 1.06D. of this specification.

              - For each employee, current annual medical respiratory clearance.

              - For each employee, current satisfactory respiratory fit test results.

              - Coordinate with facility for a 30-minute training on the facility contingency plan requirements, as applicable.  Submit proof of contingency plan training.

              - Written OSHA Lead Compliance Program.

              - Toxicity Characteristic Leaching Procedure (TCLP) waste sample results including complete chain of custodies and laboratory certifications.  Contractor shall notify DASNY and Environmental Consultant for waste stream sampling prior to any waste being removed from the site.

              - Completed Waste Profile form(s).  Contractor shall utilize analytical test results from the survey report and / or TCLP results provided by Environmental Consultant, as appropriate, to generate waste profile and LDR form.

              - Completed LDR form, as applicable.

              - Completed C7 form, as applicable.

              - Waste disposal log, as applicable.

              - Copy of Waste manifest for each load of waste that is removed from site.

              - Copy of completed hazardous waste manifest including legible transporter and disposal facility information, dates and times of waste shipment departures / arrivals, and signatures, for each load of waste, within 35 days of waste being removed from site.

              - EPA Lead Paint Notification of LBP Abatement Activities

              - List of Emergency Numbers

              - Contract Documents (Specifications and Drawings)

            - The following documentation shall be maintained on-site by the Environmental Consultant during lead activities:

              - Valid Environmental Consultant personnel EPA, OSHA, RCRA, and DOT training certifications.

              - Proof of current Facility Contingency Plan Training (if applicable)

              - All Environmental Consultant daily logs.

              - Listing of all visual inspections with the date of inspection and the date of signoff on the supervisor’s log.

              - Any applicable sampling logs, results, chain of custody forms, and sample location plans.

              - Daily worker rosters

              - All TCLP waste sample laboratory results including completed chain of custody forms and valid laboratory NYS DOH ELAP certifications.

              - All air sample results and clearance air sample results along with complete chain of custodies and laboratory certifications.

              - CSA Inspections – Initial Inspection and Weekly thereafter.

              - All applicable waste documentation, including but not limited to Universal Hazardous Waste Manifests, waste profiles, LDR forms, satisfactory CSA closure documentation, and disposal facility letter(s).

              - Contract Documents (Specifications and Drawings)

Project Close-out Submittals:

- Within 30 days of the completion of each abatement phase, the Contractor shall submit one electronic copy of the documents listed below to DASNY Code Compliance and one copy to the Environmental Consultant for review and approval prior to Contractor’s final payment.  Once DASNY Code Compliance approves the close-out submittal, the Contractor shall contact DASNY Project Management to determine the number of paper copies, that may be necessary.  This submission shall be separate from all other required closeout documents (Asbestos, PCB, etc.).

  - Fully Executed Copies of all completed hazardous waste disposal manifests, recycling certificates for recycled metal and disposal logs (see Appendix A), not yet submitted and approved, shall be sent to DASNY Code Compliance including legible transporter and disposal facility information, departure / arrival times and dates, and signatures.  Original hazardous waste manifests shall be sent to the Owner/Generator.

  - Copies of all executed waste profile forms, disposal facility acknowledgement letters and LDR forms.

  - Daily progress log.

  - Entry/Exit Logs. Decontamination unit entry/exit log for Hazardous Waste generation work areas (must be separate from any documentation associated with Asbestos removals, unless the material is both Hazardous and ACM).

  - Provide the Contractor’s Acknowledgement Statement (Appendix B) that lists all Workers used in the performance of the Project, including name and EPA certification number.   The Statement shall be notarized (Original notarized statement shall be sent to DASNY Code Compliance).

  - If TSDF transfer facility is utilized, completed hazardous waste manifest from final destination must also be provided along with a certificate of disposal/recycling.  Final destination of waste must be within the United States.

  - Documentation (i.e. daily log) of Container Storage Area (CSA) closure (if applicable) in accordance with applicable federal and state regulations.

  - EPA Lead Paint Notification of LBP Abatement Activities with proof of transmittal.

- Within 30 days of the completion of each abatement phase, the Environmental Consultant shall submit one electronic copy of the documents listed below to DASNY code compliance for review and approval prior to Environmental Consultant’s final payment. Once DASNY Code Compliance approves the close-out submittal, the Environmental Consultant shall provide three sets of the approved close-out documents (double-sided and bound) to DASNY Project Management, including one set to be distributed to the facility.

                - Upon completion of the Project, the Environmental Consultant shall certify to the Owner, in writing, that the work is complete and acceptable in an Executive Summary of the work.

                - The Environmental Consultant shall review and approve or disapprove all necessary guarantees, certificates of compliance, and all other close-out documentation, which the Contractor is required to submit.

                - The Environmental Consultant shall provide to the Owner the final Project data binder to include:

                - All daily logs.

                - Summary of all visual inspections with the date of inspection and the date of signoff on the supervisor’s log.

                - Any applicable sampling logs, results, chain of custody forms, and sample location plans.

                - Daily worker rosters.

                - All TCLP waste sample laboratory results including completed chain of custody forms and valid laboratory NYS DOH ELAP certifications.

                - All applicable waste documentation, including but not limited to Universal Hazardous Waste Manifests, waste profiles, LDR forms, and disposal facility letter(s).

                - EPA Notification of LBP Abatement Activities with proof of transmittal.

                - All pertinent correspondence related to the Project including but not limited to clearance letters, supplemental inspection findings performed during construction, copies of all weekly hazardous waste storage location inspections, etc.

PRE-CONSTRUCTION CONFERENCE

- Prior to start of preparatory Work under this Contract, the Contractor shall attend a pre-construction conference attended by Owner, Facility Personnel, and Environmental Consultant.

- Agenda for this conference shall include, but not necessarily limited to:

- Contractor's scope of Work, Work Plan, and schedule to include number of workers and shift days and times.

- Contractor's safety and health precautions including protective clothing and equipment and decontamination procedures.

- Environmental Consultant's duties, functions, and authority.

- Contractor's Work procedures including:

- Methods of job site preparation and removal methods.

- Respiratory protection.

- Disposal procedures.

- Cleanup procedures.

- Fire exits and emergency procedures.

- Contractor’s required pre-work and on-site submittals, documentation, and postings.

- Contractor's plan for 24 hour Project security both for prevention of theft and for barring entry of unauthorized personnel into Work Areas.

- Temporary utilities.

- Handling of furniture and other movable objects.

- Storage of removed lead containing materials in CSA.

- Waste disposal requirements and procedures, including Contractor notification to DASNY project management and Environmental Consultant for TCLP waste stream sampling, once waste stream generation has commenced, and prior to any waste being removed from site.

- In conjunction with the conference, the Contractor shall accompany the Owner and Environmental Consultant on a pre-construction walk-through documenting existing conditions of finishes and furnishings, review overall Work Procedures, location of CSA, location of fire exits, fire protection equipment, water supply, and temporary electric tie-in.

- If applicable, contingency plan training information.

  - APPLICABLE STANDARDS AND REGULATIONS

- All activities related to the work shall be conducted in compliance with all applicable laws, regulations, and requirements which may include, but not be limited to: EPA, DOT, RCRA, TSCA, OSHA, New York State Department of Environmental Conservation (NYS DEC), New York City Department of Environmental Protection (NYC DEP), and New York City Fire Department.

- The Contractor is required to secure and maintain all required regulatory permits necessary to perform all aspects of the work.

- The Contractor shall containerize and store waste in accordance with all applicable regulations.  All containers shall be appropriately marked/labeled.

  - PROJECT SUPERVISOR

- The Contractor shall designate a full-time Project Supervisor who shall meet the following qualifications:

- The Project Supervisor shall be trained in hazardous waste removal/generation procedures and hazardous waste management in NYS, via a 40-hour HAZWOPER and 8-hour Supervisor training course, as well as appropriate RCRA and DOT training.

- The Project Supervisor shall have a minimum of one year experience as a supervisor.

- The Project Supervisor must be able to read and write English fluently, as well as communicate in the primary language of the Workers.

- If the Project Supervisor is not on-site at any time whatsoever, all Work shall be stopped.  The Project Supervisor shall remain on-site until the Project is complete.  The Project Supervisor cannot be removed from the Project without the written consent of the Owner and the Environmental Consultant.  The Project Supervisor shall be removed from the Project if so requested by the Owner or DASNY.

- The Project Supervisor shall maintain a Daily Project Log that includes the Waste Disposal Log required by section 4.03 of this specification.

- The Project Supervisor shall be responsible for the performance of the Work and shall represent the Contractor in all respects at the Project site.  The Supervisor shall be the Contractor primary point of contact for the Environmental Consultant.

- As required by applicable regulations, prior to assignment to hazardous waste work, instruct each employee with regard to the hazards of the generated waste, safety and health precautions, and the use and requirements of protective clothing and equipment, as well as the facility contingency plan and/or Contractor emergency action plan. The contractor shall also determine whether work will be performed in confined spaces. If so, properly trained personnel shall be required.

        - QUALIFICATIONS

Qualifications of PS:  Submit name, address, telephone number and the EPA certification number of the PS selected to perform responsibilities specified in paragraph entitled "Project Supervisor (PS) Responsibilities."  Provide at least two years of previous experience with LBP abatement projects.  Submit proper documentation that the PS is trained and certified in accordance with federal, State, and local laws.  The Project Supervisor shall be trained in LBP removal and hazardous waste management in NYS, via a 40-hour HAZWOPER and 8-hour Supervisor training course.  The Project Supervisor shall have a minimum of one year experience as a supervisor.  The Project Supervisor must be able to read and write English fluently, as well as communicate in the primary language of the Workers.

Certified Firm/Contractor Qualifications: Firms/Contractors that perform renovations for compensation must apply to EPA for certification to perform renovations or dust sampling. A firm must submit to EPA a completed “Application for Firms,” signed by an authorized agent of the firm, and pay at least the correct amount of fees. Firms performing renovations must ensure that:

    - All individuals performing renovation activities on behalf of the firm are either certified renovators or have been trained by a certified renovator in accordance with 40 CFR 745.90.

    - A certified renovator is assigned to each renovation performed by the firm and discharges all of the certified renovator responsibilities identified in 40 CFR 745.90.

    - All renovations performed by the firm are performed in accordance with the work practice standards in 40 CFR 745.85.

    - The pre-renovation education requirements of 40 CFR 745.84 have been performed.

    - The recordkeeping requirements of 40 CFR 745.86 are met.

Certified Renovator and Dust Sampling Technician Qualifications: Renovators and dust sampling technicians must be certified by EPA.  Certification requires that individuals must successfully complete the appropriate course accredited by EPA under 40 CFR 745.225 or by a State or Tribal program that is authorized by EPA.  EPA renovator certification allows the certified individual to perform renovations. Certified renovators must ensure compliance with EPA 40 CFR 745 and perform or direct those that perform all renovation tasks. Certified renovators must also:

- Provide training to workers on the work practices required by 40 CFR 745.85(a) that they will be using in performing their assigned tasks.

- Be physically present at the work site when required signs are posted, while the work area containment is being established, and while the work area cleaning is performed.

- Regularly direct work being performed by other individuals to ensure that the work practices required are being followed, including maintaining the integrity of the containment barriers and ensuring that dust or debris does not spread beyond the work area.

- Be available, either on-site or by telephone, at all times that renovations are being conducted.

- Use an acceptable test kit to determine whether components to be affected by the renovation contain LBP when requested by the party contracting for renovation services.

- Have with them at the work site copies of their initial course completion certificate and their most recent refresher course completion certificate.

- Prepare records required by 40 CFR 745.86(b)(1)(ii) and (6).

Testing Laboratory:  Submit the name, address, and telephone number of the testing laboratory selected to perform the OSHA personal air sample analysis.  The air sampling results shall be utilized for reporting of airborne concentrations of lead for Contractor worker protection issues.  This sampling will be separate from any Third-Party Environmental Consultant sampling that will be conducted for DASNY.  Use a laboratory accredited under the EPA National Lead Laboratory Accreditation Program (NLLAP) by either the American Association for Laboratory Accreditation (A2LA) or the American Industrial Hygiene Association (AIHA) and that is successfully participating in the Environmental Lead Proficiency Analytical Testing (ELPAT) program to perform sample analysis.

CONTRACTOR SAMPLE RESULTS

Occupational and Environmental Sampling Results:  If requested, submit occupational and environmental sampling results to DASNY within three (3) working days of collection, signed by the testing laboratory responsible official, the employee that performed the sampling, and the PS.

- 1.10	QUALITY ASSURANCE

          - Medical Examinations:  Initial medical surveillance as required by 29 CFR 1926.62 shall be made available to all employees exposed to lead at any time (one day) above the action level.  Full medical surveillance shall be made available to all employees on an annual basis who are or may be exposed to lead in excess of the action level for more than 30 days a year or as required by 29 CFR 1926.62.  Adequate records shall show that employees meet the medical surveillance requirements of 29 CFR 1926.33, 29 CFR 1926.62, and 29 CFR 1926.103.

- Medical Records:  Maintain complete and accurate medical records of employees for a period of at least 30 years or for the duration of employment plus 30 years, whichever is longer.

- Medical Surveillance:  Provide medical surveillance to all personnel exposed to lead as indicated in 29 CFR 1926.62.

Project Supervisor (PS) Responsibilities

- Certify training as meeting all federal, State, and local requirements.

- Review and approve LBP/LCPRP for conformance to the applicable referenced standards.

- Continuously inspect LBP removal work for conformance with the approved plan.

- Ensure work is performed in strict accordance with specifications at all times.

- Control work to prevent hazardous exposure to human beings and to the environment at all times.

- Certify the conditions of the work as called for elsewhere in this specification.

Training:  Train each employee performing inspection, assessing, paint removal, disposal, and air sampling operations prior to the time of initial job assignment and annually thereafter, in accordance with 40 CFR 745.225, 29 CFR 1926.21, 29 CFR 1926.62, State and local regulations and RCRA hazardous waste management procedures.

- Training Certification:  Submit a certificate for each employee, signed and dated by the approved training source, stating that the employee has received the required lead training.

Respiratory Protection Program

- Furnish each employee required to wear a negative pressure respirator or other appropriate type with a respirator fit test at the time of initial fitting and at least annually thereafter as required by 29 CFR 1926.62. The Contractor shall provide additional respiratory protection as indicated by the SDS’ as necessary, for any chemical products utilized for the removals.

- Establish and implement a respiratory protection program as required by ANSI Z88.2, 29 CFR 1926.103, 29 CFR 1926.62, and 29 CFR 1926.55.

Hazard Communication Program:  Establish and implement a Hazard Communication Program as required by 29 CFR 1926.59.

Hazardous Waste Management:  The Hazardous Waste Management Plan shall comply with applicable requirements of federal, State, and local hazardous waste regulations and address:

- Identification and classification of hazardous wastes associated with the work.

- Estimated quantities of wastes to be generated and disposed of.

- Names and qualifications of each Contractor that will be transporting, storing, treating and/or disposing of the wastes.  Include the facility location and operator and a 24-hour point of contact.  Furnish two copies of EPA, or State and local hazardous waste permit applications or permits or manifests, as required, and coordinate with DASNY regarding the use of an existing EPA Identification numbers.

- Names, qualifications and training (experience and training) of personnel who will be working on-site with hazardous wastes.

- List of waste handling equipment to be used in performing the work, to include cleaning, segregation, volume reduction, and transport equipment.

- Spill prevention, containment, and cleanup contingency measures including a health and safety plan to be implemented in accordance with 29 CFR 1926.65.

- Work plan and schedule for waste containment, removal and disposal.  Wastes shall be cleaned up and containerized daily.

On-site Storage Requirements:

- Each waste dumpster\container shall have completed hazardous waste label with facility name, correct EPA ID number, full address, waste codes and waste information.

- Appropriate hazardous waste storage and content labels shall also be posted on the containers.

- Since this is considered a main storage area for the project, third-party DASNY Environmental Consultant shall be completing an initial and thence weekly hazardous waste storage area inspection logs. These records should be provided to DASNY and the facility each week.  Weekly inspection records shall be maintained for three years.

- Each dumpster\container shall also post all relevant DOT labels to indicate proper waste types.

- Each dumpster\container shall identify the accumulation start date.  Maximum storage limit is dependent upon generator status.

- All dumpsters and containers being stored outside shall meet EPA RCRA container requirements and shall not leak.  All dumpsters and containers must be closed top and protected from the elements.

- Spill kit shall be maintained in the container storage area (CSA).

- Regarding the posting of emergency numbers, Contractor shall coordinate with facility and DASNY and post all required emergency numbers including facility contact(s), DASNY field office, Contractor emergency numbers and local fire, police and medical facility numbers.  Signage shall be posted in the lockable container storage area, which must be protected from the elements.

- The CSA and personnel managing it must also meet the following requirements of 6 NYCRR 373:

- Preparedness and Prevention provisions of Section 373-3.3.

- Secondary containment requirements of 373-2.9(f)(1).

- Personnel training in section 373-3.2.

- Contingency plans and emergency procedures in section 373-3.4 subparagraph 376.1(g)(1)(v).

- The containers must be dated when placed in storage, and accumulation times must be observed.

- The total amount of hazardous waste stored in the CSA at any given time must not exceed the maximum for the current generator status (6,000kg-SQG, no limit-LQG).

- A label or sign stating "Hazardous Waste" must identify all areas and containers used to accumulate hazardous waste.

- Closure of the CSA. If a CSA was created specifically for the Lead removal work, once the removal work is complete, the Contractor shall immediately close out the CSA, as per 373-3.7(b) and (e).

Environmental, Safety and Health Compliance:  In addition to the detailed requirements of this specification, comply with laws, ordinances, rules, and regulations of Federal, State, and local authorities regarding removing, handling, storing, transporting, and disposing of lead waste materials. Comply with the applicable requirements of the current issue of 40 CFR Part 745 and 29 CFR 1926.62.  Submit matters regarding interpretation of standards to DASNY for resolution before starting work.  Where specification requirements and the referenced documents vary, the most stringent requirement shall apply.

Title to Materials:  Materials resulting from demolition work, except as specified otherwise, shall become the property of the Contractor and shall be disposed of in accordance with all federal, State and local regulations.

# 1.11	RESPIRATORY PROTECTION

A.	Select respirators from those approved by the National Institute for Occupational Safety and Health (NIOSH). Respiratory Protection is required for all LBP disturbances.

B.	Respirators shall be individually fit-tested to personnel under the direction of an Industrial Hygienist on a yearly basis.  Fit-tested respirators shall be permanently marked to identify the individual fitted, and use shall be limited to that individual.  Fit-test records shall be maintained on site for each employee.

C.	No respirators shall be issued to personnel without such personnel participating in a respirator training program.

D.	High Efficiency Particulate Air (HEPA) respirator filters shall be approved by NIOSH and shall conform to the OSHA requirements in 29 CFR 1910.134.

E.	A storage area for respirators shall be provided by the Contractor in the clean portion of the decontamination enclosure where they will be kept in a clean, dry environment.

F.	The Contractor shall provide and make available a sufficient quantity of respirator filters so that filter changes can be made as necessary during the workday.  Filters will be removed and discarded during the decontamination process.  Filters cannot be reused.  Filters must be changed if breathing becomes difficult.

G.	Filters used with negative pressure air purifying respirators shall not be used any longer than one eight (8) hour workday.

H.	Any authorized visitor, Worker, or supervisor found in the Work Area not wearing the required respiratory protection shall be removed from the Project site and shall not be permitted to return.

I.	The Contractor shall have at least two (2) Powered Air Purifying Respirators stored on site designated for authorized visitors use.  Appropriate respirator filters for authorized visitors shall be made available by the Contractor.

# 1.12	DELIVERY AND STORAGE

A.	Deliver all materials to the job site in original packages with containers bearing manufacturer's name and label.

B.	Store all materials at the job site in a suitable and designated area.

1.	Store materials subject to deterioration or damage away from wet or damp surfaces and under cover.

- Protect materials from unintended contamination and theft.

- Storage areas shall be kept clean and organized.

C.	Remove damaged or deteriorated materials from the job site.

# 1.13	TEMPORARY UTILITIES

A.	Shut down and lock out all electrical power to the Work Areas, including lighting circuits.  Any electrical power passing through the Work Areas that can’t be shut down due to health and safety reasons, shall be protected as per the requirements of applicable regulations and shall not be utilized within the work area and identified “live”.

B.	Provide temporary 120-240 volt, single phase, three (3) wire, 100 amp electric service with Ground Fault Circuit Interrupters (GFCI) for all electric requirements within the Work Area.

1.	Where available, obtain from Owner's existing system.  Otherwise provide power from other sources (i.e. generator).

2.	Provide temporary wiring and "weatherproof" receptacles in sufficient quantity and location to serve all HEPA equipment and tools.

3.	Provide wiring and receptacles as required by the Environmental Consultant for air sampling equipment.

4.	All power to the Work Area shall be brought in from outside the area through GFCI's at the source.

C.	Provide temporary lighting with "weatherproof" fixtures for all Work Areas including decontamination chambers.

1.	The entire Work Area shall be kept illuminated at all times.

2.	Provide lighting as required by the Environmental Consultant for the purposes of performing required inspections.

D.	All temporary devices and wiring used in the Work Area shall be capable of decontamination procedures including HEPA vacuuming and wet-wiping.

E.	Utilize domestic water service, if available, from Owner's existing system.  Provide hot water heaters with sufficient capacity to meet Project demands.

PART 2 PRODUCTS

- PERSONAL PROTECTIVE EQUIPMENT

          - Provide personnel utilized during the Project with disposable protective whole body clothing, head coverings, and foot coverings. Provide disposable gloves, suitable to prevent skin contact, to protect hands.

          - Respirators:  Furnish appropriate respirators approved by the National Institute for Occupational Safety and Health (NIOSH), Department of Health and Human Services, for use in atmospheres containing lead dust.  Respirators shall comply with the requirements of 29 CFR 1926.62. The Contractor shall provide additional respiratory protection as indicated by the SDS’ as necessary, for any chemical products utilized for the removals.

          - Provide sufficient quantities of protective clothing to assure a minimum of four (4) complete disposable outfits per day for each individual performing abatement Work.

          - Eye protection and hard hats shall be provided and made available for all personnel entering any Work Area.

          - Authorized visitors  shall be provided with suitable protective clothing, headgear, eye protection, and footwear whenever they enter the Work Area.

# 2.02	SIGNS AND LABELS, CONTAINERS

- Provide warning signs and barrier tapes at all approaches to the Work Areas.  Locate signs at such distance that personnel may read the sign and take the necessary protective steps required before entering the area.

- Each container used for on-site hazardous waste accumulation must be labeled or marked clearly with the words “Hazardous Waste,” an indication of the hazards of the contents, and the date on which accumulation began (sections 262.16(b)(6) and 262.17(a)(5)).

Example:

          - Hazardous Waste containers must have a label stating the following, on each container:

HAZARDOUS WASTE--Federal Law Prohibits Improper Disposal. If found, contact the nearest police or public safety authority, or the U.S. Environmental Protection Agency.

Proper DOT Shipping Name ________________________________________________________

Generator's Name, Address, City, State, ZIP and phone__________________________________

Generator's EPA Identification Number, Waste code____________________________________

Accumulation Start Date ___________________________________________________________

Manifest Tracking Number _________________________________________________________

          - Drums: Recovery or salvage drums acceptable for disposal of hazardous waste. Prior approval of drums is required. Drums or containers must meet the required OSHA, EPA (40 CFR Parts 260-264 and 300), and DOT Regulations (49 CFR Parts 171-178). Use of damaged containers shall not be allowed.

          - Labels: As required by the EPA and OSHA for handling, transportation, and disposal of hazardous waste.

# 2.03	DAILY PROJECT LOG

A.	Provide a Daily Project Log.  The log shall contain on title page the DASNY Project name and number; name, address and phone number of Owner; name, address and phone number of Environmental Consultant; name, address and phone number of Contractor; emergency numbers including, but not limited to local Fire/Rescue department.

B.	All entries into the log shall be made in non-washable, permanent ink and such pen shall be strung to or otherwise attached to the log to prevent removal from the log-in area.  Under no circumstances shall pencil entries be permitted.

C.	The Project Supervisor shall document all Work performed daily and note all inspections.

# 2.04	SCAFFOLDING AND LADDERS

A.	Provide all scaffolding and/or staging as necessary to accomplish the Work of this Contract.  Scaffolding may be of suspension type or standing type such as metal tube and coupler, tubular welded frame, pole or outrigger type or cantilever type.  The type, erection and use of all scaffolding and ladders shall comply with all applicable OSHA construction industry standards.

B.	Provide scaffolding and ladders as required by the Environmental Consultant for the purposes of performing required inspections.

# 2.05	SHIPPING CONTAINERS AND PACKAGING

      - Products for containerization and packaging shall be as indicated in this section, or as directed by the Owner and / or their representative.

B.	Provide packaging in accordance with 49 CFR 173 Packaging Group 9, such as 30- or 55-gallon capacity fiber, plastic, or metal drums, Gaylord Boxes or other Intermediate Bulk Containers (IBCs), or non-siftable bulk containers, capable of being sealed air and water tight if hazardous waste has the potential to damage or puncture disposal bags.  Affix hazardous waste caution labels on lids of drums, and opposite sides of drums or bulk containers, as well as the ends of bulk containers.  Recovery or salvage drums must be acceptable for disposal of hazardous waste. Prior approval of drums is required. Drums or containers must meet the required OSHA, EPA (40 CFR Parts 260-264 and 300), and DOT Regulations (49 CFR Parts 171-178). Use of damaged containers shall not be allowed.

# 2.06	EQUIPMENT AND MATERIALS

          - All dry vacuuming performed under this contract shall be performed with High Efficiency Particulate Air (HEPA) filter equipped industrial vacuums conforming to ANSI Z9.2.

          - Vacuum Filters:  UL 586 labeled HEPA filters.

          - Any power tools used to drill, cut into, or otherwise disturb lead material shall be manufacturer equipped with HEPA filtered local exhaust ventilation.

          - All polyethylene (plastic) sheeting used on the Project (including but not limited to sheeting used for critical and isolation barriers, fixed objects, walls, floors, ceilings, waste container) shall be at least 6 mil fire retardant sheeting.

          - Absorbent Material: Clay, soil or any commercially available absorbent used for the purpose of absorbing hazardous or potentially hazardous materials.

  - RESPIRATORY PROTECTION

- Establish a respirator program as required by ANSI Z88.2 and 29 CFR 1910.134.  Provide respirator training.

B.	Select respirators from those approved by the National Institute for Occupational Safety and Health (NIOSH), Department of Health and Human Services.  High Efficiency Particulate Air (HEPA) respirator filters shall be approved by NIOSH and shall conform to the OSHA requirements in 29 CFR 1910.134.

- Respirators shall be individually fit-tested to personnel under the direction of an Industrial Hygienist initially and on a yearly basis thereafter.  Fit-tested respirators shall be permanently marked to identify the individual fitted, and use shall be limited to that individual.

- A storage area for respirators shall be provided by the Contractor in the clean portion of the decontamination enclosure where they will be kept in a clean, dry environment.

- The Contractor shall provide and make available a sufficient quantity of respirator filters so that filter changes can be made as necessary during the workday.  Filters will be removed and discarded during the decontamination process.  Filters cannot be reused.  Filters must be changed if breathing becomes difficult. Filters provided to the personnel shall be appropriate to the hazardous waste(s) being handled as well as any chemicals brought on site and used to facilitate the removals.

- Filters used with negative pressure air purifying respirators shall not be used any longer than one eight (8) hour workday.

G.	Any authorized visitor, Worker, or supervisor found in the Work Area not wearing the required respiratory protection shall be removed from the Project site and shall not be permitted to return.

- The Contractor shall have at least two (2) Powered Air Purifying Respirators stored on site designated for authorized visitors use.  Appropriate respirator filters for authorized visitors shall be made available by the Contractor.

PART 3 EXECUTION

- GENERAL REQUIREMENTS

  - Notification:  Notify the EPA at least five (5) days prior to conducting LBP abatement activities in a residential dwelling or child occupied facility.

          - Notification:  Distribute notification to owner(s) and resident(s) according to EPA RRP rule 40 CFR 745, Subpart E Section 745.84 Information distribution requirements.

          - Occupant protection:  Firms must post signs clearly defining the work area and warning occupants and other persons not involved in renovation activities to remain outside of the work area. To the extent practicable, these signs must be in the primary language of the occupants. These signs must be posted before beginning the renovation and must remain in place and readable until the renovation and the post-renovation cleaning verification have been completed. If warning signs have been posted in accordance with 24 CFR 35.1345(b)(2) or 29 CFR 1926.62(m), additional signs are not required by this section.

          - Third-Party Oversight

- Full-time Third-Party oversight shall be required for LBP removals, waste storage area/container inspections and waste container removals from site.

          - Lead Control Area Requirements– Interior Renovations

- Before beginning the renovation, the firm must isolate the work area so that no dust or debris leaves the work area while the renovation is being performed. In addition, the firm must maintain the integrity of the containment by ensuring that any plastic or other impermeable materials are not torn or displaced, and taking any other steps necessary to ensure that no dust or debris leaves the work area while the renovation is being performed. The firm must also ensure that containment is installed in such a manner that it does not interfere with occupant and worker egress in an emergency.

- Before beginning the renovation, the firm must:

- Remove all objects from the work area, including furniture, rugs, and window coverings, or cover them with plastic sheeting or other impermeable material with all seams and edges taped or otherwise sealed airtight.

- Close and cover all ducts opening in the work area with taped-down plastic sheeting or other impermeable material.

- Close windows and doors in the work area. Doors must be covered with plastic sheeting or other impermeable material. Doors used as an entrance to the work area must be covered with plastic sheeting or other impermeable material in a manner that allows workers to pass through while confining dust and debris to the work area.

- Cover the floor surface, including installed carpet, with taped-down plastic sheeting or other impermeable material in the work area six (6) feet beyond the perimeter of surfaces undergoing renovation or a sufficient distance to contain the dust, whichever is greater. Floor containment measures may stop at the edge of the vertical barrier when using a vertical containment system consisting of impermeable barriers that extend from the floor to the ceiling and are tightly sealed at joints with the floor, ceiling and walls.

- Use precautions to ensure that all personnel, tools, and other items, including the exteriors of containers of waste, are free of dust and debris before leaving the work area.

          - Lead Control Area Requirements – Exterior Renovations

- Before beginning the renovation, the firm must

Close all doors and windows within 20 feet of the renovation. On multi-story buildings, close all doors and windows within 20 feet of the renovation on the same floor as the renovation, and close all doors and windows on all floors below that are the same horizontal distance from the renovation.

Ensure that doors within the work area that will be used while the job is being performed are covered with plastic sheeting or other impermeable material in a manner that allows workers to pass through while confining dust and debris to the work area.

Pre-clean the floors or ground of paint chip debris around the work area prior to placement of plastic / polyethylene sheeting, as necessary.

Cover the ground with plastic sheeting or other disposable impermeable material extending 10 feet beyond the perimeter of surfaces undergoing renovation or a sufficient distance to collect falling paint debris, whichever is greater, unless the property line prevents 10 feet of such ground covering. Ground containment measures may stop at the edge of the vertical barrier when using a vertical containment system.  Seal all openings (i.e. drain/grates) within 25 ft. of work area.

          - If the renovation will affect surfaces within 10 feet of the property line, the renovation firm must erect vertical containment or equivalent extra precautions in containing the work area to ensure that dust and debris from the renovation does not contaminate adjacent buildings or migrate to adjacent properties. Vertical containment or equivalent extra precautions in containing the work area may also be necessary in other situations in order to prevent contamination of other buildings, other areas of the property, or adjacent buildings or properties.

          - Protection of Existing Work to Remain:  Perform paint removal work without damage or contamination of adjacent areas.  Where existing work is damaged or contaminated, restore work to its original condition or better.

          - Boundary Requirements:  Provide physical boundaries around the lead control area by roping off the area designated in the work plan or providing curtains, portable partitions or other enclosures to ensure that airborne concentrations of lead will not reach 30 μg/m3 of air outside of the lead control area.

      - Physical Boundary:  Provide physical boundaries around the lead control area by roping off the area designated in the work plan or providing curtains, portable partitions or other enclosures to ensure that airborne concentrations of lead will not reach 30 μg/m3 of air outside of the lead control area.

      - Warning Signs:  Provide warning signs at approaches to lead control areas.  Locate signs at such a distance that personnel may read the sign and take the necessary precautions before entering the area.  Signs shall comply with the requirements of 29 CFR 1926.62.

          - Furnishings:

      - The Owner will remove furniture and equipment from the building before LBP removal work begins.

or

Furniture and equipment will remain in the building.  Protect and cover furnishings or remove furnishings from the work area and store in a location approved by DASNY.

or

Existing furniture and equipment is lead-contaminated. Decontaminate non-porous lead-contaminated material for subsequent re-use or non-hazardous disposal / recycling.  Dispose of lead-contaminated porous materials as lead-contaminated waste.

          - Heating, Ventilating and Air Conditioning (HVAC) Systems:  Shut down, lock out, and isolate HVAC systems that supply, exhaust, or pass through the lead control areas.  Seal intake and exhaust vents in the lead control area with 6 mil plastic sheeting and tape.  Seal seams in HVAC components that pass through the lead control area.  Provide temporary HVAC system for areas in which HVAC has been shut down outside the lead control area.

          - Decontamination Shower Facility:  Provide clean and contaminated change rooms and shower facilities in accordance with this specification and 29 CFR 1926.62.

          - Eye Wash Station:  Where eyes may be exposed to injurious corrosive materials, suitable facilities for quick drenching or flushing of the eyes shall be provided within the work area.

          - Mechanical Ventilation System

- Use adequate ventilation to control personnel exposure to lead in accordance with 29 CFR 1926.62.

- To the extent feasible, use fixed local exhaust ventilation connected to HEPA filters or other collection systems, approved by the PS.  Local exhaust ventilation systems shall be designed, constructed, installed, and maintained in accordance with ANSI Z9.2.

- Vent local exhaust outside the building only and away from building ventilation intakes.

- Use locally exhausted, power actuated, paint removal tools.

          - Personnel Protection:  Personnel shall wear and use protective clothing, respiratory projection and equipment as specified herein.  Eating, smoking, or drinking or application of cosmetics is not permitted in the lead control area.  No one will be permitted in the lead control area unless they have been appropriately trained and provided with protective equipment.

- WORK PROCEDURES

- A.	Perform removal and disposal of LBP in accordance with approved LBP/LCPRP.  Use procedures and equipment required to limit occupational and environmental exposure to lead when LBP is removed in accordance with 29 CFR 1926.62, except as specified herein.

- B.	Personnel Exiting Procedures:  Whenever personnel exit the lead control area, they shall perform the following procedures and shall not leave the work place wearing any clothing or equipment worn during the work day:

- Vacuum themselves off.

- Remove protective clothing in the contaminated change room, and place them in an approved impermeable disposal bag.

- Shower or Wash hands and face at the site, as directed, don appropriate disposable or uncontaminated reusable clothing; move to an appropriate facility; shower.

- Change to clean clothes prior to leaving the physical boundary designated around the lead control area.

          - Personal Air Sampling

- Air sample for lead in accordance with 29 CFR 1926.62 and as specified herein.

Submit results of personal air samples, signed by the PS, within 24 hours after the air samples are taken.  Notify DASNY immediately of exposure to lead at or in excess of the action level of 30 μg/m3.

          - Surface and/or soil sampling

            - Surface and/or soil sampling shall be conducted as required for residential dwellings and child occupied facilities or as may be required for high profile, sensitive work areas, such as administrative buildings, kitchens, barracks, etc., to determine clearance (i.e., that the work has not contaminated surfaces within and adjacent to the control area) will be performed by a Third-Party Environmental Consultant provided by DASNY.  Notification to DASNY will also outline any sampling requirements to be provided for the work.

              - Before any work begins, DASNY’s Third-Party Environmental Consultant may collect and analyze baseline soil or wipe samples in accordance with methods defined in federal, State, and local standards inside and outside of the physical boundary to assess the degree of soil and/or dust contamination prior to when LBP removal activities are initiated.

After all work is completed, DASNY’s Third-Party Environmental Consultant will collect and analyze soil or wipe samples in accordance with methods defined in federal, State, and local standards inside and outside of the physical boundary to assess the degree of soil and/or dust contamination after the LBP removal activities are completed.

          - Area Air Sampling During Paint Removal Work:  DASNY’s Third-Party Environmental Consultant will conduct area air sampling while LBP removal operations are performed, in areas immediately adjacent to the lead control area.  Area monitoring shall be conducted to ensure unprotected personnel adjacent to the lead control area are not exposed at or above 30 μg/m3 of air.  If a lead concentration of 30 μg/m3 of air is reached or exceeded, the Contractor will be advised to stop work, and correct the condition(s) causing the increased levels.  DASNY’s Third-Party Environmental Consultant will determine if condition(s) require any further change in work methods.  Removal work shall resume only after approval is given by DASNY’s Third-Party Environmental Consultant.  For outdoor operations, at least one sample on each shift shall be taken on the downwind side of the lead control area.

          - LBP Removal

- Provide methodology for removing LBP/LCP in the work plan.  Remove paint within the areas designated on the drawings to completely expose the substrate.  Take whatever precautions necessary to minimize damage to the underlying substrate.

- Avoid flash rusting or deterioration of the substrate.  Coordinate surface preparations as required by DASNY.

- Provide methodology for LBP/LCP removal processes to minimize contamination of work areas outside the control area with lead-contaminated dust or other lead-contaminated debris/waste and to ensure that unprotected personnel are not exposed to hazardous concentrations of lead.  Describe this LBP/LCP removal process in the LBP/LCPRP.

- Indoor Lead Paint Removal:  Perform manual, mechanical, thermal or chemical, as allowed by owner’s representative, LBP/LCP removal in lead control areas using enclosures, barriers, or containments and powered locally exhausted paint removal tools.  Collect residue, abrasives and/or debris for disposal in accordance with federal, State, and local requirements.

- Outdoor Lead Paint Removal:  Perform outdoor removal as indicated in federal, State, and local regulations and in the LBP/LCPRP.  The worksite preparation (barriers or containments) shall be job dependent and presented in the LBP/LCPRP.

- Component Removal (i.e. windows, doors): Cover the ground surface beneath components with polyethylene sheeting.  The ground cover, paint chips that have fallen onto it, and personal protective equipment shall leave the site as hazardous waste and shall not be co-mingled with components. Segregate paint chips, abrasives and associated residues from larger LBP/LCP component waste streams.

- Soil Sampling After Paint Removal:  After the visual inspection, DASNY’s Third-Party Environmental Consultant will conduct soil sampling if bare soil is present during external removal operations.

- DASNY’s Third-Party Environmental Consultant will collect wipe samples according to the HUD protocol contained in HUD Guidelines to determine the lead content of settled dust and dirt in micrograms per square foot (μg/ft2) of surface area and parts per million (ppm) or micrograms per gram (μg/g) for soil, if applicable.

- The Contractor shall notify DASNY project management and Environmental Consultant for TCLP waste stream sampling, once waste generation has commenced, and prior to any waste being removed from the site.

- The Third-Party Environmental Consultant shall sample all potential hazardous waste streams for TCLP listed hazardous and characteristic (if applicable) analyses prior to disposal, in accordance with 40 CFR 261 for hazardous waste.  It should be noted that the disposal facility may have more stringent requirements for hazardous waste acceptance (i.e. PCB testing for painted wastes). Therefore, the Environmental Consultant shall be informed in writing, so that they may indicate analytical testing accordingly. The waste profile, LDR and C7 forms and waste transporter permit must be reviewed and approved by the Owner’s Environmental Consultant prior to any hazardous waste leaving the site. The DOT-trained Environmental Consultant must be on-site for all hazardous waste shipment removals and will be responsible for inspection of the waste shipment as well as signoff on the hazardous waste manifest, on behalf of the owner and DASNY, to allow the hazardous waste shipment to leave the site.  If at an Office of Mental Health (OMH) facility, a properly trained OMH site representative must also be present for the waste pickup.

          - Cleanup and Clearance

- Cleanup:  Maintain surfaces of the lead control area free of accumulations of paint chips and dust.  Restrict the spread of dust and debris; keep waste from being distributed over the work area.  Do not dry sweep or use compressed air to clean up the area.  At the end of each shift and when the paint removal operation has been completed, clean the area of visible lead paint contamination and within two (2) feet of the work area by vacuuming with a HEPA filtered vacuum cleaner, wet mopping the area and wet wiping the area as indicated by the PS.  Re-clean areas showing dust or residual paint chips or debris.  After visible dust, chips and debris are removed, wet wipe and HEPA vacuum all surfaces in the work area.  Collect all paint chips and debris and, without dispersing any of it, seal this material in a heavy-duty bag. Remove protective sheeting. Mist the sheeting before folding it, fold the dirty side inward, and either tape shut to seal or seal in heavy-duty bags. Sheeting used to isolate contaminated rooms from non-contaminated rooms must remain in place until after the cleaning and removal of other sheeting. Dispose of the sheeting as waste. If adjacent areas become contaminated at any time during the work, clean, visually inspect, and then wipe sample all contaminated areas.  The PS shall then certify in writing that the area has been cleaned of lead contamination before re-starting work.

- Clearance Certification

              - The Contractor shall document in writing and provide analytical documentation to certify that: the employee exposure to an airborne concentration of lead were below the required action level; respiratory protection used for the employees was adequate; the work procedures were performed in accordance with 29 CFR 1926.62 and 40 CFR 745; and that there were no visible accumulations of material and dust containing lead left in the work site.  Do not remove the lead control area or roped-off boundary and warning signs prior to DASNY’s acknowledgement of the third-party sampling results, if required, and upon receipt of the Contractor certification.

A certified renovator must perform a visual inspection to determine whether dust, debris or residue is still present. If dust, debris or residue is present, these conditions must be rectified by re-cleaning and another visual inspection must be performed.

After a successful visual inspection, the certified renovator must verify that each windowsill in the work area has been adequately cleaned, if applicable.  The windowsill shall be wiped with a wet disposable cleaning cloth that is damp to the touch. If the cloth matches or is lighter than the cleaning verification card, the windowsill has been adequately cleaned. If the cloth does not match and is darker than the cleaning verification card, re-clean the windowsill, then either use a new cloth or fold the used cloth in such a way that an unused surface is exposed, and wipe the surface again. If the cloth matches or is lighter than the cleaning verification card, that windowsill has been adequately cleaned. If the cloth does not match and is darker than the cleaning verification card, wait for one (1) hour or until the surface has dried completely, whichever is longer.  After waiting for the windowsill to dry, wipe the windowsill with a dry disposable cleaning cloth. After this wipe, the windowsill has been adequately cleaned.

Wipe uncarpeted floors and countertops within the work area with a wet disposable cleaning cloth, if applicable. Floors must be wiped using an application device with a long handle and a head to which the cloth is attached. The cloth must remain damp at all times while it is being used to wipe the surface for post-renovation cleaning verification. If the surface within the work area is greater than 40 square feet, the surface within the work area must be divided into roughly equal sections that are each less than 40 square feet. Wipe each such section separately with a new wet disposable cleaning cloth. If the cloth used to wipe each section of the surface within the work area matches the cleaning verification card, the surface has been adequately cleaned.  If the cloth used to wipe a particular surface section does not match the cleaning verification card, re-clean that section of the surface, then use a new wet disposable cleaning cloth to wipe that section again. If the cloth matches the cleaning verification card, that section of the surface has been adequately cleaned.  If the cloth used to wipe a particular surface section does not match the cleaning verification card after the surface has been re-cleaned, wait for one (1) hour or until the entire surface within the work area has dried completely, whichever is longer. After waiting for the entire surface within the work area to dry, wipe each section of the surface that has not yet achieved post-renovation cleaning verification with a dry disposable cleaning cloth. After this wipe, that section of the surface has been adequately cleaned.

The DASNY Third-Party Environmental Consultant shall certify surface wipe sample results collected inside and outside the work area are less than 5 μg/ft2 on uncarpeted floors, less than 40 μg/ft2 (50 ug/ft2 – New York City) on interior window sills, less than 100 μg/ft2 on window troughs and less than 40 ug/ft2 on porch floors, or not significantly greater than the initial surface loading determined prior to work, as directed.

When the work area passes the post-renovation cleaning verification and satisfactory third-party clearance wipe sample results, remove the warning signs.

For exterior paint removal work, a certified renovator must perform a visual inspection to determine whether dust, debris or residue is still present on surfaces in and below the work area, including windowsills and the ground. If dust, debris or residue is present, these conditions must be rectified, and another visual inspection must be performed. When the area passes the visual inspection, remove the warning signs.  The DASNY Third-Party Environmental Consultant will provide soil samples taken at the exterior of the work site to be used to determine if soil lead levels have increased at a statistically significant level (significant at the 95 percent confidence limit) from the soil lead levels prior to the work.  If soil lead levels do show a statistically significant increase above any applicable Federal or State standard for lead in soil, the soil shall be remediated back to the pre-work level.

- RESTORATION OF UTILITIES, FIRESTOPPING, AND FINISHES

- After final clearance, remove locks and restore electrical and HVAC systems.  All temporary power shall be disconnected, power lockouts removed, and power restored.  All temporary plumbing shall be removed.

- Finishes damaged by lead removal activities including, but not limited to, plaster/paint damage due to duct tape and spray adhesives, and floor tile lifted due to wet or humid conditions, shall be restored prior to final payment.

- Finishes unable to be restored shall be replaced under this Contract.

- All foam and expandable foam products and materials used to seal Work Area openings shall be completely removed upon completion of abatement activities.

- All penetrations (including, but not limited to, pipes, ducts, etc.) through fire rated construction shall be firestopped using materials and systems tested in accordance with ASTM E814 on Projects where reinsulation is part of the required work.

PART 4   DISPOSAL OF HAZARDOUS WASTE

      - WASTE CONTAINERIZATION, TRANSPORTATION AND DISPOSAL SITE

- The Contractor's Hauler and Disposal Facility shall be approved by the Owner.  Prior to the hazardous waste being removed from the site, written notice must be provided and confirmation received from the intended disposal facility, indicating proper authority to receive the hazardous waste, as well as the ultimate disposal method for the waste. The notice shall be acknowledged in writing via a disposal facility representative’s signature, printed name and title, as well as phone number, in compliance with 6 NYCRR 372.2(b)(2).  For disposal within New York State, facilities must be specifically permitted to accept hazardous waste.  In addition, the Contractor is responsible for securing appropriate treatment or disposal for the generated hazardous waste streams at a permitted TSDF, if necessary, in compliance with all regulatory requirements, and for obtaining a copy of the waste manifest and waste profile of the treated waste as executed by the TSDF. If the manifest is not returned within 35 calendar days from removal from the site, the contractor shall notify the Owner and the NYS DEC, and initiate an investigation as required.

- The Contractor shall give at least 24-hour notification prior to removing any waste from the site.  Waste shall be removed from the site only during normal working hours unless otherwise specified.  No waste shall be removed from the site unless the Contractor, Environmental Consultant and authorized/qualified facility personnel are present, and the Environmental Consultant authorizes the release of the waste. The DOT-trained Environmental Consultant must be on-site for all hazardous waste shipment removals and will be responsible for inspection of the waste shipment. They may also be required to signoff on the hazardous waste manifest on behalf of the owner and DASNY, if the authorized/qualified facility personnel is unavailable, to allow the hazardous waste shipment to leave the site. This responsibility shall be coordinated and executed in accordance with the Owner’s direction.

- The Contractor shall supply all required placard and labeling and shall have an appropriately DOT - trained individual to prepare the waste container and inspect the packaging of the hazardous waste.

- All waste shipment storage containers shall be fully enclosed and lockable (i.e. enclosed dumpster, trailer, etc.).

- The Environmental Consultant shall verify that the waste shipment storage container and/or truck tags (license plates) match that listed on the DEC Part 364 permit. Any waste shipment storage container not listed on the permit shall be removed from the site immediately prior to storage of any material from the site.

- The waste shipment storage container shall be plasticized and sealed with one layer of clear 6 mil plastic. Once on-site, it shall be kept locked at all times, except during load out.  The waste shipment storage container shall not be used for storage of equipment or contractor supplies.

- While on-site, the waste shipment storage container shall be labeled with DEC Hazardous Waste Warning Labels as specified in Section 2.02.

- The New York State Department of Environmental Conservation Hauler's Permit number shall be displayed on both sides and back of the container. The permit number shall be at least 3 inches high and in a color that contrasts with the container / vehicle background color.

- Waste generated off-site or from a different, on-site non-DASNY project is not permitted to be brought onto the Project site and/or loaded into the waste container.

- The waste shipment storage container is not permitted to be loaded unless it is properly plasticized, has the appropriate danger signage affixed, and has the permit number appropriately displayed on the container.

- All hazardous waste generated as part of the project shall be removed from the site within ten (10) calendar days after successful completion of all hazardous waste generation work.  However, all disposal facility permits/licenses, waste profiles, LDR forms, c7 forms, hauler permit(s), and all other necessary paperwork must be submitted to and approved by the Environmental Consultant before the waste is removed from the site.  Waste stream samples shall be collected by the Environmental Consultant for TCLP analysis and the results utilized by the Contractor for waste stream characterization and disposal determination.

- Upon arrival at the Project Site, the Hauler must possess and present to the Environmental Consultant a valid DEC Part 364 Waste Hauler's Permit. The Environmental Consultant may verify the authenticity of the hauler's permit with the proper authority.

- The Hauler, with the Contractor and the Environmental Consultant, shall inspect all material in the transport container prior to taking possession and signing the Hazardous Waste Manifests.

- Transporters shall maintain waste manifest and shipment record forms.  All transporters are required to obtain and maintain NYS DEC Part 364 Waste Transporter permits and, if applicable, a NYC Fire Department permit for transporting flammables.  The Part 364 Permit shall have the license plate number of the vehicle, the expiration date of the permit, the type of waste the hauler can transport and the TSDF to which the hauler can transport the waste.  The transporter must also have all applicable, current waste transportation permits for the states where the proposed disposal facilities are located.

- 4.02	WASTE DISPOSAL DOCUMENTATION

- The Disposal Facility operator shall return the original Manifest to the Owner’s Representative or the disposal facility state as required by the DEC in 6 NYCRR 372 within 35 days. The Environmental Consultant must call the facility to investigate if the Manifest is not returned within 35 days and contact the EPA/DEC and file an Exception report if not returned within 45 days.

- The Contractor shall utilize the Waste Disposal Log provided by the Owner.  This log shall be maintained by the Project Supervisor and shall be kept on-site at all times.  (See Appendix A.).

- Copies of all waste disposal manifests and disposal logs (copies are acceptable for electronic closeout submittal review) shall be submitted by the Contractor to the Owner with the final close-out documentation.

- The Contractor must also submit reports and records per the requirements of 6 NYCRR 372.2.

- The Owner may initiate random checks at the Disposal Site to ensure that the procedures outlined herein are complied with.

  - Hazardous WASTE MANIFESTS & DISPOSAL DOCUMENTATION

- The Contractor is responsible for securing appropriate treatment or disposal for the waste streams at a permitted TSDF, in compliance with all requirements, and for obtaining a copy of the waste manifest (interim storage and final disposal) as executed by the TSDF. If the manifest is not returned within 35 calendar days from removal from the site, the Contractor shall notify the Owner and the NYS DEC, and initiate an investigation as required. The Contractor shall contact the EPA and file an Exception report if the manifest is not returned within 45 days.  All hazardous waste metals intended for recycling, shall have the appropriate completed c7 form accompanying the shipment and this form must be emailed to the DEC two (2) weeks prior to the shipment leaving the site. Documentation of submission (i.e. delivery receipt and read receipt) shall be provided upon request.

- A Uniform Hazardous Waste Manifest shall be utilized solely as the waste Manifest for transportation. A hauler billing form or bill of lading may be used if the hauler needs an independent record, but shall not be used as the sole shipping document.

- The Manifest shall be completed by the Contractor and verified by the Environmental Consultant that all the information and amounts are accurate and the proper signatures are in place.

- The Manifest shall have the appropriate signatures of the Owner’s Representative (the Generator) and the Hauler representative prior to any waste being removed from the site.

- Copies of the completed Manifest, shall be retained by the Environmental Consultant and shall remain on-site for inspection.

- Upon arrival at the Disposal Site, the Manifest shall be signed by the Disposal Facility operator to certify receipt of hazardous and asbestos (if appliable) wastes covered by the manifest.

- The Disposal Facility operator shall return the original Manifest and certificate of recycling for recycled metals to the Owner’s Representative or the disposal facility state as required by the DEC in 6 NYCRR 372 within 35 days. The Environmental Consultant must call the facility to investigate if the Manifest is not returned within 35 days and contact the DEC and file an Exception report if not returned within 45 days.

- The Contractor shall utilize the Waste Disposal Log provided by the Owner.  This log shall be maintained by the Project Supervisor and shall be kept on-site at all times.  (See Appendix C.)

- Copies of all waste disposal manifests, c7 forms, certificates of recycling, as well as originals of all manifests and disposal logs (copies are acceptable for electronic closeout submittal review) shall be submitted by the Contractor to the Owner with the final close-out documentation.

- The Contractor must also submit reports and records per the requirements of 6 NYCRR 372.2.

- Payment for disposal of hazardous waste will not be made until a signed copy of the manifest and certificate of recycling from the treatment or disposal facility certifying the amount of hazardous waste delivered is returned for each load of waste removed from the site. The original hazardous waste manifest must be provided to the Owner, and copies provided to DASNY Code Compliance.

- The Owner shall file the annual report and fee report, if applicable, for the hazardous waste shipped.

END OF SECTION 02 83 00

# APPENDIX A

WASTE DISPOSAL LOG

| DORMITORY AUTHORITY STATE OF NEW YORK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| WASTE DISPOSAL LOG |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Facility Name:_________________________________ |  |  |  |  |  |  |  |  |  | Building Name/Number:_______________________________ |  |  |  |  |  |  |  |
| Project Name: _______________________________________ |  |  |  |  |  |  |  |  |  | DASNY Project Number:____ __________________________ |  |  |  |  |  |  |  |
| Abatement/Remediation Contractor: ____________________________ |  |  |  |  |  |  |  |  |  | Project Monitor Firm: _________________________________ |  |  |  |  |  |  |  |
| Load No. |  | Hauler Name |  | NYSDEC # |  | License Plate No. |  | Size of Container |  | Disposal Facility Name |  | Date Depart from Site |  | Date Received at Disposal Site |  | Date Shipment Record Returned |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Page ______ of ______ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

# APPENDIX B

# CONTRACTOR’S ACKNOWLEGEMENT STATEMENT

CONTRACTOR’S ACKNOWLEDGEMENT STATEMENT

Re:	Removal of Lead Based Paint

_______________________________________________________________

(DASNY Project Title)

_______________________________________________________________

(Project Location-Campus, Building ID, Floor)

_______________________                ________________________________________________

(DASNY Project Number)				                  Project Date(s) (Start/End)

_______________________________________________________________

(Lead Contractor)

In consideration of the following individuals’ employment in connection with the abatement, handling, and disposal of lead containing waste at the referenced project, I hereby certify that the employees: a) have received the medical examinations required by OSHA 29 CFR 1926.62; b) have been fit tested specifically for respirators used on the Project; and c) have received training as required by OSHA 29 CFR 1926.62 in the proper handling of lead containing materials, including the health implications and risks involved, as well as the use and limitations of the respiratory equipment to be used.

.

| Employee Name (Supervisor and Handlers) (Print Name) | US EPA Lead Based Paint Activities Certification Number |
| --- | --- |
| 1. |  |
| 2. |  |
| 3. |  |
| 4. |  |
| 5. |  |
| 6. |  |
| 7. |  |
| 8. |  |
| 9. |  |
| 10. |  |

Project Supervisor:    ________________________             ________________________

Print Name				                    Signature

Notary block here)                        	 Notary Name: ___________________________

Page __ of ___