|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Date:** | | | | **Revised Date:** | | | | | | | | | |
| **Campus/Facility:** | | | | | | | | | **Client:** | | | | |
| **(Address)** | | | | | | | | | | | | | |
| **Building Name(s):** | | | | | | | | **Building Numbers:** | | | | | |
| **Project Title:** | | | | | | | | | | | | | |
| **Architect/Engineer:** | | | | | | | | | | | | | |
| **JDE #** | | | **Estimated Project Cost:** | | | | | | | | | | |
| **Code Enforcement Jurisdiction:  DASNY** | | | **Other:** | | | | | | | **Variance Requested:  Yes  No** | | | |
| **Occupancy Classification(s):****(Group I Condition):** | | | | | | **Construction Classification:** | | | | | | | |
| **NFPA 101 Life Safety Code (for OPWDD & OMH Facilities):**  **(Complete Attachment #3 or #4 as applicable. Use link below)** | | | | | | **Life Safety Code Occupancy Chapter (s):**  **Life Safety Code Construction Classification:**  **FSES Utilized:       Attach Copy.** | | | | | | | |
| **Project Type:**  **Check all that apply. Refer to the Existing Building Code for definitions.** | | **New Building**  **Repair**  **Alteration Level 1**  **Alteration Level 2** | | | **Alteration Level 3**  **Change of Occupancy**  **Addition**  **Historic Building** | | | | | | **Demolition**  **Chapter 4. Prescriptive Compliance Method**  **Chapter 14. Performance Compliance Methods.** | |  |
| **Work Involved:** | **General Construction** | | | | | | **Structural** | | | | | **Site Work** | |
| **Check all that apply.** | **Roofing** | | | | | | **Mechanical** | | | | | **Sprinkler** | |
|  | **Asbestos Abatement/Environmental** | | | | | | **Plumbing** | | | | | **Elevators** | |
|  | **Fire Alarm** | | | | | | **Electrical** | | | | | **Other** | |
| **Statement of Special Inspections Required:** YesNo | | | | | | | | | | | | | |
| **Comments:** | | | | | | | | | | | | | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **LEGEND: NA:** ***Not Applicable*, NR: *Not Required*, NP: *Not Permitted***  **FC: *Fire Code*, PC: *Plumbing Code*, MC: *Mechanical Code*, FGC: *Fuel Gas Code*, ECC: *Energy Conservation Code*** | | | | | |
| **No** | **Topic** | **Building Code Section (unless otherwise noted)** | **Required/ Allowed** | **Actual** | **Comment** |
| **1** | **Fire Apparatus Access Road** | FC503.1, Appendix D |  |  |  |
| **2** | **High Rise Buildings** | 403 |  |  |  |
|  | Construction | 403.2 |  |  | Indicate any reduction in Fire Ratings below |
|  | Reduction in Fire Rating | 403.2.1 |  |  |  |
|  | Shaft Enclosures | 403.2.1.2 |  |  |  |
|  | Structural Integrity of Interior Exit Stairway and Elevator Hoistway Enclosures | 403.2.3 |  |  | Provide Information for Risk Category III or IV and for all Buildings more than 420 ft. in height. |
|  | Sprayed Fire-Resistant Materials | 403.2.4 |  |  | Indicate Bond Strength. |
|  | Sprinkler Protection | 403.3 |  |  |  |
|  | Water supply to required Fire Pumps | 403.3.2 |  |  | Indicate number of Water Supplies. |
|  | Secondary Water Supply | 403.3.3 |  |  |  |
|  | Emergency Systems | 403.4 |  |  |  |
|  | Smoke Detection & Fire Alarm System | 403.4.1, 403.4.2 |  |  |  |
|  | Standpipe System | 403.4.3 |  |  |  |
|  | Emergency Voice/Alarm Communication System | 403.4.4 |  |  |  |
|  | Emergency responder radio coverage | 403.4.5 |  |  | Wired RadioOther |
|  | Fire Command Center | 403.4.6 |  |  |  |
|  | Smoke Removal | 403.4.7 |  |  |  |
|  | Standby & Emergency Power | 403.4.8 |  |  |  |
|  | Equipment Room Separation | 403.4.8.1 |  |  |  |
|  | Fuel Line Piping Protection | 403.4.8.2 |  |  |  |
|  | Means of Egress: Remoteness of interior Exit Stairways | 403.5.1 |  |  |  |
|  | Smokeproof Enclosures | 403.5.4 |  |  |  |
|  | Luminous Egress Path Markings | 403.5.5 |  |  |  |
|  | Elevators | 403.6 |  |  | Fire Service Access Occupant Evacuation |
| **3** | **Atriums** | 404 |  |  |  |
|  | Automatic Sprinkler Protection | 404.3 |  |  |  |
|  | Fire Alarm System | 404.4 |  |  |  |
|  | Smoke Control | 404.5 |  |  |  |
|  | Enclosure of Atriums | 404.6 |  |  |  |
|  | Standby Power | 404.7 |  |  |  |
|  | Exit Access Travel Distance | 404.9 |  |  |  |
| **4** | **Group I-2** | 407 |  |  | Provide analysis. |
|  | Corridors Continuity and Separation | 407.2 |  |  |  |
|  | Corridor Wall Construction | 407.3 |  |  |  |
|  | Smoke Barriers | 407.5 |  |  |  |
|  | Automatic Sprinkler System | 407.7 |  |  |  |
|  | Fire Alarm System & Automatic Fire Detection | 407.8, 407.9 |  |  |  |
| **5** | **Hazardous Materials Control Areas** | 414.2 |  |  | Provide additional information indicating number, size, materials stored, and quantity of each material. |
| **6** | **I-1, R-1, R-2, R-3 & R-4** | 420 |  |  | Provide analysis. |
|  | Dwelling and Sleeping Unit Separation | 420.2 |  |  |  |
|  | Dwelling and Sleeping Unit Horizontal Separation | 420.3 |  |  |  |
|  | Automatic Sprinkler System | 420.4 |  |  |  |
|  | Fire Alarm System & Smoke Alarms | 420.5 |  |  |  |
|  | Dormitory Cooking Facilities | 420.10 |  |  |  |
| **7** | **Building Area & Height** | 501 |  |  | Provide information in Attachment 1. Use link below. |
| **8** | **Mixed Use and Occupancies:** | 508 |  |  | Provide analysis. |
|  | Accessory Occupancies | 508.2 |  |  |  |
|  | Nonseparated Uses | 508.3 |  |  |  |
|  | Separated Uses (Ratio < 1) | 508.4 |  |  |  |
| **9** | **Incidental Uses:** | 509 |  |  |  |
| **10** | **Construction Classification** | 602 |  |  | Provide analysis. |
|  | Fire-Resistance Rating of Building Elements | 602.1, Table 602 |  |  |  |
|  | Exterior Wall Fire-Resistance Rating | 602.1, Table 602 |  |  |  |
|  | Exterior Fire Separation Distance | 602.1, Table 602 |  |  |  |
|  | Combustible Material in Types I & II Construction | 603 |  |  |  |
| **11** | **Fire Resistive Construction** | 701.1 |  |  | Provide analysis. |
|  | Individual Encasement of Columns and Primary Structural Frame | 704.2, 704.3 |  |  |  |
|  | Protection of Secondary Members | 704.4 |  |  |  |
|  | Exterior Wall: Allowable Area of Openings: | 705.8 |  |  |  |
|  | Protected | 705.8.2 |  |  |  |
|  | Unprotected | 705.8.3 |  |  |  |
|  | Exterior Wall: Vertical Separation of Openings | 705.8.5 |  |  |  |
|  | Parapets | 705.11 |  |  |  |
|  | Fire Walls | 706 |  |  |  |
|  | Party Walls | 706.1.1 |  |  |  |
|  | Fire Barriers | 707 |  |  |  |
|  | Fire Partitions | 708 |  |  |  |
|  | Smoke Barriers | 709 |  |  |  |
|  | Smoke Partitions | 710 |  |  |  |
|  | Floor & Roof Assemblies | 711 |  |  |  |
|  | Vertical Opening | 712 |  |  |  |
|  | Shaft Enclosures | 713 |  |  |  |
|  | Penetrations | 714 |  |  |  |
|  | Fire-Resistant Joint Systems | 715 |  |  |  |
|  | Opening Protectives | 716 |  |  |  |
|  | Fire Doors in Corridors / Smoke and Draft Control | 716.1 / 716.2 |  |  | Required fire-rated corridor doors must also meet the requirements for smoke and draft control in section 716.2.2.1.1. Per 716.2.9.3 this requires S labels. |
|  | Ducts and Air Transfer Openings | 717 |  |  |  |
|  | Concealed Spaces | 718 |  |  |  |
|  | Prescriptive Fire Resistance | 721 |  |  | Provide Specific item numbers from Tables |
|  | Calculated Fire Resistance | 722 |  |  | Provide Specific Components and Calculations from Tables |
| **12** | **Interior Finishes, trim and decorative materials** | 801.1 |  |  | Provide analysis. |
|  | Wall & Ceiling: Exits | 803.13  Table 803.13 |  |  |  |
|  | Wall & Ceiling: Corridors | 803.13  Table 803.13 |  |  |  |
|  | Wall & Ceiling: Rooms/Spaces | 803.13  Table 803.13 |  |  |  |
|  | Interior Floor Finish | 804 |  |  |  |
|  | Combustible Decorative Materials | 806.2 |  |  | Provide Percentage of combustible decorative materials |
| **13** | **Fire Protection: General** | 901.1 |  |  |  |
|  | Automatic Sprinkler System | 903 |  |  | Indicate Type of Sprinkler System  NFPA 13NFPA 13RNFPA 13D |
|  | Alternative Automatic Fire Extinguishing System | 904 |  |  |  |
|  | Standpipe System | 905 |  |  |  |
|  | Portable Fire Extinguishers | 906 |  |  |  |
|  | Fire Alarm System | 907 |  |  | Indicate Type of Fire Alarm System  Addressable Conventional (zoned) |
|  | Smoke Detection System | 907 |  |  |  |
|  | Emergency Voice/alarm Communication System | 907.5.2.2 |  |  |  |
|  | Occupant Notification Systems | 907.5 & Appendix E Table E104.2.1 |  |  | Indicate the number accessible and hearing-impaired rooms to be provided with visual appliances |
|  | Smoke Control Systems | 909 |  |  |  |
|  | Smokeproof Enclosure/ Stair Pressurization | 909.20 |  |  |  |
|  | Fire Command Center | 911 |  |  |  |
|  | Fire Department Connections | 912 |  |  | Location shall be approved by Local Fire Chief |
|  | Fire Pumps | 913 |  |  |  |
|  | Equipment room Identification | 914.2 |  |  |  |
|  | Carbon Monoxide Detection | 915/FC915 |  |  | Indicate the Type of CO Detection  Independent CO System CO Alarms  CO Detection connected to FACP |
|  | Gas Detection Systems | 916 |  |  |  |
|  | Emergency Responder Radio Coverage | 918/FC510 |  |  |  |
| **14** | **Means of Egress** | 1001.1 |  |  | Provide information in Attachment 1. Use link below. |
|  | Common Path of Egress | 1006.2.1, Table 1006.2.1 |  |  |  |
|  | Single Exits | 1006.3.3 |  |  |  |
|  | Remoteness of Exits | 1007.1.1 |  |  |  |
|  | Emergency Lighting | 1008.3 |  |  |  |
|  | Accessible Means of Egress | 1009.1 |  |  |  |
|  | Elevator Required | 1009.2.1 |  |  |  |
|  | Elevator accessed from “area of refuge” | 1009.4 |  |  |  |
|  | Area of Refuge | 1009.6 |  |  |  |
|  | Controlled Egress Doors  (I-1 & I-2 only) | 1010.1.9.7 |  |  |  |
|  | Delayed Egress Locks | 1010.1.9.8 |  |  |  |
|  | Panic and fire exit Hardware | 1010.1.10 |  |  |  |
|  | Stairways | 1011.1 |  |  |  |
|  | Ramps | 1012.1 |  |  |  |
|  | Exit Signs | 1013.1 |  |  |  |
|  | Handrails | 1014.1 |  |  |  |
|  | Guards | 1015.1 |  |  |  |
|  | Mechanical Equipment, (Guards) | 1015.6 |  |  |  |
|  | Window Opening Control Devices | 1015.8 |  |  |  |
|  | Exit Access | 1016.1 |  |  |  |
|  | Exit Access Travel Distance | 1017.1 |  |  |  |
|  | Exit Access Stairways and Ramps | 1019.1 |  |  |  |
|  | Corridor Fire Rating | 1020.1 |  |  |  |
|  | Hoistway Opening Protection | 1020.1.1 |  |  | Where fire-resistance rated corridors are required, section 3006.2.1 requires an enclosed elevator lobby or smoke doors. |
|  | Corridor Width and Capacity | 1020.2 |  |  |  |
|  | Dead End Corridor | 1020.4 |  |  |  |
|  | Interior Exit Stairways and Ramps Fire Rating | 1023.2 |  |  |  |
|  | Smokeproof Enclosure | 1023.11 |  |  |  |
|  | Exit Passageways | 1024.1 |  |  |  |
|  | Luminous Egress Path Markings | 1025.1 |  |  |  |
|  | Horizontal Exit | 1026.1 |  |  |  |
|  | Exterior Exit Stairs and Ramps | 1027.1 |  |  |  |
|  | Exit Discharge | 1028.1 |  |  |  |
|  | Assembly | 1029.1 |  |  |  |
|  | Emergency Escape & Rescue | 1030.1 |  |  |  |
| **15** | **Accessibility** | 1101.1  ICC A117.1(09) |  |  |  |
|  | Accessible Route | 1104.1 |  |  |  |
|  | Accessible Entrance | 1105.1 |  |  |  |
|  | Parking | 1106.1 |  |  |  |
|  | Dwelling & Sleeping Units | 1107.1 |  |  | For existing buildings, please note the 2020 NYSEBC has removed the Type B unit exception for structures built before 3/19/91. |
|  | Toilet and Bathing Facilities | 1109.2 |  |  |  |
|  | Drinking Fountains | 1109.5 |  |  | Where one is required, two shall be provided. One at an accessible height, the other at standing person height. |
|  | Platform Lifts | 1109.8 |  |  |  |
|  | Signage | 1111.1 |  |  |  |
| **16** | **Interior Environment** | 1201 |  |  |  |
|  | Ventilation | 1202 |  |  |  |
|  | Unvented Attic & Enclosed Rafter assemblies | 1202.3 |  |  |  |
|  | Light: Natural/Artificial | 1204 |  |  |  |
|  | Sound Transmission | 1206 |  |  |  |
|  | Minimum Ceiling Heights | 1207.2 |  |  |  |
|  | Toilet & Bathroom Requirements | 1209.1 |  |  |  |
| **17** | **Energy Conservation** | 1301/NYSECC |  |  | Provide information in Attachment 2. Use link below. |
| **18** | **Roof Assembly Fire Classification** | 1505.1 |  |  |  |
|  | Roof Covering | 1507.1 |  |  |  |
|  | Rooftop Structures | 1510.1 |  |  |  |
|  | Reroofing | 1511 |  |  |  |
|  | Photovoltaic Panels | 1512 |  |  |  |
| **19** | **Structural Requirements** | 1601.1 |  |  | Provide information in Attachment 1. Use link below. |
|  | Truss Type, Pre-Engineered Wood or Timber Construction | 19-NYCRR Part 1264/1265 |  |  | Provide information in Attachment 1. Use link below. |
| **20** | **Foundation** | 1801.1 |  |  | Provide information in Attachment 1. Use link below. |
| **21** | **Safety Glazing** | 2406.1 |  |  |  |
| **22** | **Foam Plastic Insulation** | 2603 |  |  |  |
|  | Thermal Barrier | 2603.4 |  |  |  |
| **23** | **Electrical** | 2701.1 |  |  |  |
|  | Emergency & Standby Power | 2702.1 |  |  |  |
|  | Elevator & Platform Lifts | 2702.2.2 |  |  |  |
|  | Exhaust Systems | 2702.2.5 |  |  |  |
|  | Exit Signs | 2702.2.6 |  |  |  |
|  | High Rise Building | 2702.2.11 |  |  |  |
|  | Means of Egress | 2702.2.13 |  |  |  |
|  | Smoke Control Systems | 2702.2.16 |  |  |  |
| **24** | **Mechanical Systems** | 2801.1 |  |  |  |
|  | Fire & Smoke Dampers | 717.5 |  |  | Refer to 717.5 for specific requirements. |
|  | Fan Shutdown | MC606.4 |  |  |  |
|  | Combustion Air | MC701.1 & FGC304.1 |  |  |  |
|  | Chimneys, Flues & Gas vents | MC801.1 & FGC501.1 |  |  | Provide diameter of chimney/gas vents. |
|  | Refrigerant Piping | MC1107 |  |  | Piping is prohibited in fire-resistance-rated exit access corridors, interior exit stairways and ramps, interior exit passageways, elevator shafts, and shafts with openings into fire-resistance-rated corridors/stairways/exit passageways. |
| **25** | **Plumbing** | 2901.1 |  |  |  |
|  | Minimum Number of Fixtures | 2902.1 |  |  | Provide information in Attachment 1. Use link below. |
|  | Maximum Consumption | PC604.4 |  |  |  |
|  | Available Street Water Pressure |  |  |  |  |
|  | Fixture Units | PC709.1 |  |  |  |
|  | House Traps | PC1002.6 |  |  |  |
|  | Water Supply Materials (Materials, Joints and Connections) | PC 605 |  |  |  |
| **26** | **Elevator & Conveying systems** | 3001.1 |  |  |  |
|  | Elevator Car sized to accommodate a Stretcher | 3002.4 |  |  |  |
|  | Elevator Fire Fighters’ Emergency Operation | 3003.2 |  |  |  |
|  | Machine Rooms Fire Rating | 3005.4 |  |  |  |
|  | Elevator Lobbies and Hoistway opening protection | 3006.1 |  |  |  |
|  | Fire Service Access Elevators | 3007.1 |  |  |  |
|  | Occupant Evacuation Elevators | 3008.1 |  |  |  |
|  | Escalators | 3004.2 |  |  |  |
| **27** | **Special Construction** | 3101.1 |  |  |  |
|  | Pedestrian Walkways/Tunnels | 3104.1 |  |  |  |
|  | Awning and Canopies | 3105.1 |  |  |  |
|  | Swimming Pool Enclosures | 3109.3 |  |  |  |
|  | Swimming Pool Entrapment protection | 3109.4 |  |  |  |
|  | Swimming Pool Alarms | 3109.5 |  |  |  |
| **28** | **Solar Energy Storage Systems** | 3111.1 |  |  |  |

Additional information provided.

Open Attachment 1 and enter information

Commercial Energy Conservation information provided.

Open Attachment 2 and enter information LSC Health Care Facility, Chapters 18/19 for OPWDD & OMH Facilities Open Attachment 3 and enter information: LSC Board & Care

Chapters 32/33 for OPWDD facilities

Open Attachment 4 and enter information:

