## Sheet1
# | Question | Corresponding RFP Section | Answer
1 | What is the anticipated schedule for bidding and construction of this project | Section 2.3 Project Scope of Work | Please refer to section 2.3 Project Scope of Work.
2 | If our firm (or our sub-consultant firms) already have an approved DASNY Multiplier (over 2.5) is proof of that approved multiplier from DASNY or other state agency also acceptable multiplier documentation? | Tab 2 - Overhead and Profit Multiplier - Page 19 | Regardless of if it’s a Prime or a Sub, new information would be required to be reviewed at the time of contract negotiation.
3 | In addition to our firm providing our rates and classifications, should subconsultant firms also provide their employees’ rates and classifications? | Tab 3 - Classifications and Rates - Page 19 | Yes.
4 | Can DASNY please share the list of firms and attendees from the October 17, 2025, pre-proposal meeting and walkthrough? This will help ensure accurate team coordination and potential MWBE/SDVOB outreach. |  | We will not be sharing this list with the public.
5 | During the pre-proposal meeting, it was mentioned that a separate, concurrent project may include an electrical and boiler upgrade on the campus. Can DASNY please provide the drawings for that project (or the latest available existing electrical drawings) in the next addendum, along with the past 12 months of Con Edison electrical demand data and boiler plant's current demand load? This information would allow proposers to better evaluate whether new boilers and new electrical service upgrades should be included in the bridging proposal or if existing capacity may be leveraged. |  | Concurrent projects as stated may occur but this has not been confirmed. Available data will be shared with the successful proposer.
6 | Will subconsultants participating on this response be exempt from exclusion for the next phase of the project or will they be excluded along with the prime A/E firms? | Tab 5 - M/WBE and SDVOB Utilization of the RFP | Please refer to Section 2.4 Scope of Services, 4. Design Builder Procurement., bullet I. This is also clarified in Addendum No.1, which will be shared shortly.
7 | Can DASNY please share the sign-in sheet from the Pre-Proposal Meeting/Site Visit? |  | We will not be sharing this list with the public.
8 | Please confirm the Subcontracting Provisioning Goals of 18% Minority Owned, 12% Women Owned, and 6% Service Disabled Veteran Owned. |  | That Is correct.
9 | Is there a preliminary schedule available outlining the estimated durations of each phase? This will help respondents build a more accurate timeline in our Firm/Team Approach. |  | There is no preliminary schedule available other than what is referenced in the RFP, section 2.3 Project Scope of Work.
10 | The Base Total Cost Form in Excel references phases not related to this project (Design Development, Construction Documents, etc.). Will DASNY issue a revised Base Total Cost Form that reflects the requested scope of services (Programming and Feasibility Study, Conceptual Design, and Bridging Documents, and Design-Builder Procurement)? |  | Please fill out the form to the best of your ability as is, making it clear which section is associated with which phase of the project.
11 | The RFP states: “If required, the bridging consultant will assist DASNY in reviewing any changes in bridging documents required for the design builder to obtain permits.” Is the expectation that the bridging consultant will also assist the design builder and/or Owner obtain facility license(s) from OMH and/or other accreditation organizations such as the Joint Commission? |  | The Design-Builder is the retain design professional licensed in NYS to obtain all plan approvals permits for construction activities.
12 | Will DASNY please consider extending the due date by at least one (1) week? |  | We will not be extending at this time.
13 | Due to the complexity of this RFP, I would like to request a two-week extension. |  | We will not be extending at this time.
14 | At what point in the project will a decision be made regarding the 200-bed option or the 100-bed option? |  | Please refer to Addendum No.1 regarding the 100-bed and 200-bed options.
15 | If a 200-bed option is the primary option, what would the project and construction budget be? |  | Please refer to Addendum No. 1 for the project budget. The purpose of the programing and bridging phases is to establish the construction costs.
16 | Please confirm if the $160 million is project or construction budget. If it is the project budget, what is the assumed construction budget? |  | Please refer to Addendum No. 1 for the project budget. The purpose of the programing and bridging phases is to establish the construction costs.
17 | Should the design team provide an alternate fee for the 100-bed option? |  | No. Please refer to Addendum No.1 regarding the 100-bed and 200-bed options.
18 | Is there an assumed cost per bed DASNY/OMB is budgeting for? (inclusive of support spaces)? |  | This is apart of the programming and bridging phases.
19 | Should the design team plan for meetings during the later phases with the Design-Build phase? ie., meetings with the next phase's AOR to review the BOD documents and be on call for questions as they complete their work? |  | Yes.
20 | What outpatient services are anticipated to be on site and how does it compare to the current service provided? ie., General exam, Pharmacy, Dental, Ophthalmology, Audiology, Dialysis, Imaging(?), Orthopedics, Infusion, Physical therapy, Endo...etc |  | This is apart of the programming and bridging phases.
21 | Will proposed renovation work within Buildings 102 / 106, as required based on reuse / expansion of existing support services, be part of the bridging documents or will they be covered under a separate project? |  | This is apart of the programming and bridging phases, for this project.
22 | Are all medical support services meant to be shared and located in Building 106 or will there be some medical support spaces on unit/closer to the patient population? |  | This is apart of the programming and bridging phases.
23 | It is stated that OMH facilities are not in a flood zone. Is this based on the latest FEMA maps? | Page 4 | The current FEMA map and flood zones are to be determined by the successful proposer during the programming and bridging phases. Mitigation strategies, if any, are to be part of the bridging documents.
24 | Recently-completed studies on existing site conditions are referenced. Is any of this material available to be shared/reviewed now? | Page 8 | This will be provided to the successful proposer.
25 | Is there a known or desired number or frequency of project meetings to be assumed for fee generation? ie., weekly, bi-weekly or monthly? |  | A major part of this project is to program this project including a new building, site work and possible modifications to other buildings. As with all complex projects such as this, the successful proposer should allow as many meetings as needed.
26 | The RFP states that a full site remediation will take place associated with the Meyer building demolition project. If so what are the environmental concerns that the proposal respondent should assume will be left behind with regards to hazardous or contaminated materials removal and what will be required? | Section 2.2 | The intent of the OGS demolition project is to remediate and remove all environmental concerns from the site but awarded proposer will be required to test for confirmation.
27 | Has a Phase I Environmental Site Assessment been performed in support of the demolition project or the future Design-Build project? |  | The demolition project is managed by NYS OGS for OMH.
28 | Are any fuel tanks or emergency generator tanks associated with the limits of the demolition/construction project? |  | There are no fuel tanks or emergency generator tanks within the project limits of the OGS demolition project.
29 | Does the facility rely on underground steam or hot water tunnels for heating purposes? |  | Yes.
30 | If underground heating tunnels are present will they be removed as part of the demolition project? |  | This project is separate from the demolition project. It is assumed that while the tunnel system is largely undisturbed, modifications to POE of the tunnel to the building and piping within the tunnel should be considered part of this project.
31 | Was a pre-demolition asbestos containing materials inspection and survey completed for the demolition project and all components that will be impacted by this work including utilities and tunnels. |  | Yes. A pre-demolition asbestos containing material inspection and report was completed for the demolition project. Identified hazardous materials will be abated through the OGS demolition project.
32 | What is the anticipated approximate gross area of the 100-bed and 200-bed facilities? |  | This is apart of the programming and bridging phases.
33 | Is there an anticipated AV program for the Manhattan Psychiatric Center project |  | This is apart of the programming and bridging phases.
34 | Is $160M estimated project budget for the anticipated construction cost or for the overall project cost? | Section 2.7 on page 13 | Please refer to Addendum No. 1 for the project budget. Construction costs will be developed by the CM working with the bridging consultant.
35 | Please confirm or revise the assumption that the new facility, regardless of bed count, will be adult only. |  | Yes.
36 | Are there any anticipated specific patient typologies for the 100 bed facility? for the 200 bed facility? Ex. Adult, Geriatric, Dual-diagnosis, Transitional, Forensic, etc. |  | The anticipated population is adult, civil inpatient.
37 | Is it anticipated that off unit programming for patients will be provided such as a therapy mall or recreation spaces? |  | This will be developed as part of the programming phase.
38 | Is there an anticipated patient care unit size or will that be discussed/determined during programming phase? |  | This will be developed as part of the programming phase.
39 | Could you clarify the reference of CSI/UCI 16 division format? We use a 40 division format currently. Is it acceptable that bridging document specifications follow Uniformat instead of Masterformat? | Section 2.4 Scope of Services - 3. Bridging Documents | Drawings and specifications are to follow DASNY requirements as available at dasny.org.
40 | Within the new hospital building, is it anticipated that there will be any outpatient behavioral health services as well? |  | This will be developed as part of the programming phase.
41 | What is the anticipated intake process for patients? Where will they be coming from, and how will they be processed and medically cleared at this new facility? |  | This will be developed as part of the programming phase.
42 | What are the expectations for the Bridging Consultant’s engagement with the OEA / DEP (or their term consultants)? | 2.9 State Environmental Quality Review Act | Please refer to RFP section 2.9 State Environmental Quality Review Act
43 | What scope is anticipated as being needed for the hazardous materials assessment? |  | The work of this RFP for all hazardous materials includes testing for all campus areas where disturbed by the bridging documents as well as the former Meyer site.
44 | It is noted that OMH has completed several recent studies on the existing site conditions. Could a list of these studies/surveys be provided? | 2.4 Scope of Services, 1. Programming and Feasibility Study | These will be provided to the successful proposer.
45 | Is there any recent and relevant zoning information and geotechnical reports available? |  | NYC zoning regulations are not applicable. Geotechnical investigations and reports are part of this RFP.
46 | What is the condition and function of the existing Kirby building, and what will its relationship be with the new 100-bed or 200-bed building? |  | The existing Kirby Building is decommissioned. The new building has no relation to the existing Kirby Building. No part of the Kirby Building will be considered for re-use.
47 | What is the role and expectation of the Bridging Consultant between the Design Builder Procurement and the Construction Phase Services? Is it anticipated that the Bridging Consultant will remain involved during the Design phases of the Design Build effort? | Page 10 #4 and 5 | Yes the bridging consultant will remain involved. Please refer to section 2.4 Scope of Services - 4. Design-Builder Procurement and 5. Construction Phase Services for a bulleted list.
48 | At the site walkthrough, it was mentioned that the 200-bed approach will be Option 1, and the 100-bed approach will be Option 2. Could this be reconfirmed? |  | Please refer to Addendum No.1 regarding the 100-bed and 200-bed options.
49 | At the site walkthrough, it was mentioned that the Civil patients in Dunlap will be relocated to the new 100 or 200 bed facility. Could you reconfirm that the backfill of or modification of Dunlap is not included as part of this project? |  | The work in patient areas of Dunlap is not part of this RFP.
50 | At the walkthrough, AHJs were discussed. Could you reconfirm the relationship and expectations of involvement of the City, State, DOH, DOB, DASNY, and OMH for this project? |  | NYS has full jurisdiction for this building except as noted. NYC has no jurisdiction except for NYC water and sewer connections. NYS OMH owns the building. DASNY is an agent of the owner. All construction inspections required by NYS building code will be performed by DASNY as the AHJ. MTA Bridges and Tunnels controls the bridges that provide access.
51 | At the walkthrough, it was mentioned that a CON application would not be required. Could this be reconfirmed? |  | Confirmed, this is not required.
52 | At the walkthrough, it was mentioned that Zoning does not apply on this site. Could this be clarified? |  | NYC zoning regulations are not applicable.
53 | Could the slides/presentation from the pre-proposal walkthrough be shared? |  | We will not be sharing this with the public.
54 | Is future expansion of the facility (above and beyond 200 beds) to be considered as part of the scope? |  | No.
55 | What departments are anticipated to be included in the new building other than the inpatient units (off unit therapies, support services, etc.)? |  | This is apart of the programming phase which are part of this RFP.
56 | What is the anticipated mix of private/semi-private bedrooms? |  | This is apart of the programming phase which are part of this RFP.
57 | The RFP indicates using the 2018 FGI Guidelines. Will more current versions be anticipated for adoption during the process? | Paragraph 1b - Page 7/8 | Neither OMH nor DASNY govern adoption of FGI Guidelines. If new FGI Guidelines are adopted or adoption is anticipated prior to issuance of building permit, the project would follow the current version
58 | The RFP indicates “FF&E placement and support requirements”, who will be developing the FF&E lists? | Concept Design item no. 4 - page 11, Bridging Documents item no. 3 - page 12 | This is apart of the programming phase.
59 | Is there a page limit for the Cost Proposal? Is there a page limit for the Administrative Proposal? | Section 4 Page 18 - Section 5 Page 20 | No.
60 | Is the expectation that door hardware sets should be included? | Section 3 Bridging Documents Page 9 | Development of performance criteria for hardware sufficient for the intended use is part of this RFP. Specific OMH standards for hardware and room functions will be provided to the successful proposer.
61 | Is there a planned date to issue the addendum mentioned in the walkthrough that clarifies the initial intended bed count? |  | Addendum No. 1 will be posted shortly. Please refer back to our website.
62 | Please confirm intent for Consultant to provide Programming, Assessments, and Conceptual Designs for 100-bed and 200-bed hospitals prior to preparing Bridging Documents. | 2.1 Engagement Overview | Please refer to Addendum No.1 regarding the 100-bed and 200-bed options
63 | Should Cost Proposal for Bridging Documents be based on a 100-bed or 200-bed hospital or include separate fees for both? | 2.1 Engagement Overview | Please refer to Addendum No.1 regarding the 100-bed and 200-bed options. Your cost proposal should reflect this change with only one option based on a 200-bed facility.
64 | What level of hazardous materials assessment is included in the referenced NYS OGS studies? | 2.4 Scope of Services | The work of this RFP requires full testing of all areas of potential disturbance, whether tested previously or not.
65 | What level of hazardous materials clearance testing is required under the current Meyer demolition work? | 2.4 Scope of Services | The work of this RFP requires full testing of all areas of potential disturbance, whether tested previously or not.
66 | What level, if any, of shoreline/wetlands environmental habitat assessments will be required? | 2.4 Scope of Services | The successful proposer is to make a full investigation of all site constraints. Environmental studies as required by SEQRA will be provided by DASNY.
67 | Is the Meyer demolition contractor providing a post-demolition topo survey? | 2.4 Scope of Services | As apart of the bridging documents, the proposer will need to complete a Topographic survey.
68 | “Please provide further information regarding DASNY’s emissions reduction/energy goals and any decarbonization strategies of interest for this project, especially with consideration to NYC Local Law 97 emissions thresholds, which reduce over time. Additionally, please share any further information regarding any of DASNY’s internal goals/requirements with respect to NYS Executive Order 22.” | MEP/Sustainability | OMH is not subject to LL97. DASNY's approach to EO22 is to use DASNY's Owner's Project Requirements (OPR) process to elicit performance metrics and get key questions answered from the client regarding sustainability.
69 | “Beyond compliance with NYC LL92/94, please advise if other, more intensive renewable energy generation systems (e.g., geothermal) are to be explored.” | MEP/Sustainability | OMH is not subject to LL92/94.
70 | Item 2, Conceptual Design, refers to Security and Communications. Identify the specific systems that make up each of the Security and Communications systems. | Item 2, Conceptual Design | This is apart of the programming phase.
71 | Should the conceptual design options include site and floor plans depicting Security and communications device layout/placement? Or would a detailed narrative suffice? |  | Both should be provided.
72 | Item 3, bridging documents, states the requirement to interface with other OMH systems. Please identify these systems. |  | This is apart of the programming phase.
73 | Do we need permeability tests for possible detention/retention basins? |  | The need for detention/retention basins should be evaluated and determined apart of the bridging documents.
74 | Will NYCDOB-certified inspectors be required? |  | No. DASNY is the AHJ and will provide inspection services
75 | What information is available – record drawings, geotechnical reports, historic boring logs, etc.…? |  | The work of this RFP includes full sub-surface investigations, borings and geotechnical reports. Available historic information will be provided to the successful proposer but the requirements of the RFP remain as stated.
76 | Is site drainage within the RFP scope? |  | Site drainage as required for the new building and other sitework is part of this RFP.
77 | What is the site footprint – what are the limits of project? |  | Please refer to the RFP section 1.3 Introduction to Wards Island Campus for the stated site footprint. The site for the project includes site work around the new building, new parking lots, utilities for the new building, the area between the new building and Rivers Edge Road as well improvements at the south entrance.
78 | Will geotechnical/environmental borings be required? |  | Yes.
79 | Do patients eat on unit or off unit? |  | This is apart of the programming phase.
80 | What is the maximum size of an existing dining room? |  | This is apart of the programming phase.
81 | What is the estimated project budget for the 200-bed hospital? | Section 2.7 Project and Construction Budget | Please refer to Addendum No. 1.
82 | What is the estimated construction cost for the 100 and 200-bed hospitals? | Section 2.7 Project and Construction Budget | This project will establish construction cost data at project milestones. At this time, cost data is limited to project cost funding. The purpose of the programing and bridging phases is to establish the construction costs.
83 | Confirm deliverables for all major building systems are limited to “performance requirements” or if drawings/distribution diagrams for plumbing, HVAC, electrical, BMS, fire protection, security, communications, food service and vertical transportation are required. | Section 2.4 Scope of Services - 3. Bridging Documents Page 9 | Architectural drawings as described in section 2.4 Scope of Services as well as, typical room layouts for patient rooms and areas, offices and other critical mental health spaces, single line drawings for MEP/FP and security, design criteria and operational description for these and all other consultants are required deliverables. In addition, the bridging consultant will be responsible to respond to RFI's from proposers for both the RFQ and RFP where design intent is not clear.
84 | Confirm expectations for specifications “consistent with the level of detail found in a schematic submission” (DASNY Design Professionals Submission Requirements only require a table of contents and scope of work description for Schematic Design). | Section 2.4 Scope of Services - 3. Bridging Documents Page 9 | As this is a RFP for bridging documents, the specifications need to convey sufficient information for the design-builder to understand design intent. Information conveyed as in DASNY 60% specifications for Parts 1.1, 1.2 and 1.3 (Summary, References and Performance) and Part 2-Products should be part of the bridging documents. The requirements of OMH are to be part of these specifications and should be familiar to the design team. DASNY will also convey specific requirements during the bridging phase.
85 | Is the Bridging Documents REVIT file a required deliverable? If so, what Level of Design (LoD) is required? |  | Graphic and text deliverables are acceptable as PDF's.
86 | Meeting Minutes: Please clarify expectations or approximate number of meetings. |  | A major part of this RFP is to program this project including a new building, site work in several areas of the campus and possible modifications to other buildings. As with all complex projects such as this, the successful proposer should allow as many meetings as needed.
87 | It was noted during the site walkthrough that subconsultants to the selected Architect for the bridging documents may not be precluded from pursuing work as part of the Design Build procurement. Please clarify which team members from the bridging documents would be excluded from work in the design-build team. |  | Please refer to Section 2.4 Scope of Services, 4. Design Builder Procurement., bullet I. The successful qualified architectural firm and its principal subconsultants for this engagement will not be eligible to participate on the Design-Build team.
88 | Attend Meetings: Please clarify expectations or approximate number of meetings. |  | A major part of this RFP is to program this project including a new building, site work in several areas of the campus and possible modifications to other buildings. As with all complex projects such as this, the successful proposer should allow as many meetings as needed.
Manhattan Psychiatric Center-New Patient Services Building-Bridging Consultant